Thermafiber® UltraBatt™ insulation is intended for use as a thermal barrier within various wood and steel framed exterior wall, ceiling and floor construction assemblies.

Thermafiber® UltraBatt™ insulation provides enhanced thermal performance and is non-combustible, moisture resistant, non-corrosive and vermin resistant.

Thermafiber® UltraBatt™ insulation supports sustainable design strategies for projects seeking compliance with LEED, Green Globes and other sustainable performance targets. Thermafiber® UltraBatt™ insulation contains a minimum 70% recycled content, has been issued a Bronze Material Health Certificate from Cradle to Cradle and has obtained an Environmental Product Declaration (EPD) certified by UL Environment.

Thermafiber® UltraBatt™ insulation may also be used as a thermal barrier for the protection of exposed foamed plastic (polystyrene, polyurethane, etc.) insulation where required by applicable building code.

# General

## SECTION INCLUDES

In this article, select the components or assemblies that are intended to be part of the content of this section and will not be included in other sections.

### Batt insulation in [exterior wall] [ceiling] [floor] [roof] construction.

### [Batt insulation for protection of foamed plastic insulation.]

## RELATED SECTIONS

In this article, indicate those sections that inter-rely on this section.  The listing below is only partial and should be edited to include those sections specific to the project that describes subjects or products that affect this section directly.

### Section [06 11 00 - Wood Framing]:  Thermal insulation.

### Section [07 21 19 - Foamed-In-Place Insulation]:  Thermal barrier for foamed plastics.

### Section [07 21 29 - Sprayed Insulation]:  Thermal barrier for foamed plastics.

### Section 07 26 00 - Vapour Retarders:  Vapour retarder materials to adjacent insulation.

### Section 07 27 00 - Air Barriers:  Air barrier materials to adjacent insulation.

### Section [09 21 16 - Gypsum Board Assemblies]:  Thermal insulation.

## REFERENCES

Edit this article after editing the rest of this section. Only list reference standards below, that are included within the text of this section, when edited for a project specification - delete other references that do not apply.

Both Canadian and US standards are listed and in some cases the test methods and acceptance criteria are the same. It is suggested that Canadian standards be referenced whenever possible, while the US standards are included to evaluate cited test results from competing manufacturers

### ASTM C518 15 - Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus.

### ASTM C665-12 - Standard Specification for Mineral-Fiber Blanket Thermal Insulation for Light Frame Construction and Manufactured Housing.

### ASTM C795-08(2013) - Standard Specification for Thermal Insulation for Use in Contact with Austenitic Stainless Steel.

### ASTM C1104/C1104M-13a - Standard Test Method for Determining the Water Vapor Sorption of Unfaced Mineral Fiber Insulation.

### ASTM C1338-14 - Standard Test Method for Determining Fungi Resistance of Insulation Materials and Facings.

### ASTM E84-16 - Standard Test Method for Surface Burning Characteristics of Building Materials.

### ASTM E136-16a - Standard Test Method for Behavior of Materials in a Vertical Tube Furnace at 750°C.

### CAN/ULC-S102-10 - Standard Method of Test for Surface Burning Characteristics of Building Materials and Assemblies.

### CAN/ULC-S114-05 - Standard Method of Test for Determination of Non-Combustibility in Building Materials.

### CAN/ULC-S124-06 - Standard Method of Test for the Evaluation of Protective Coverings for Foamed Plastic.

### CAN/ULC-S129-15 - Standard Method of Test for Smoulder Resistance of Insulation (Basket Method).

### CAN/ULC-S702-14 - Standard for Mineral Fibre Thermal Insulation for Buildings.

### ISO 14025:2006 - Environmental labels and declarations - Type III environmental declarations - Principles and procedures.

## SYSTEM DESCRIPTION

Edit and use this article carefully; restrict statements to describe the combined result of the components used to piece together an operating or functional assembly.  Do not repeat statements from the SECTION INCLUDES article.

### Assembly of components includes materials providing:

#### Continuity of thermal barrier at building enclosure elements [in conjunction with thermal insulating materials in Section [____]].

#### Thermal protection to vapour retarder in conjunction with vapour retarder materials in Section [07 26 00].

#### Thermal protection to air seal materials at building enclosure elements in conjunction with air barrier materials in Section [07 27 00].

## ADMINISTRATIVE REQUIREMENTS

### Section 01 31 00:  Project management and coordination procedures.

### Coordination:

#### Coordinate with other work having a direct bearing on work of this section.

#### Coordinate the work with Section [07 26 00] for installation of vapour retarder and Section [07 27 00] for air seal materials.

## SUBMITTALS FOR REVIEW

Do not request submittals if this specification section or drawings sufficiently describe the products of this section - or if proprietary specifying is used.  This requested review of submittals increases the possibility of unintended variations to the contract documents, thus increasing a consultant's liability.  The following submittals are intended for review to determine eligibility for the project.

### Section 01 33 00:  Submission procedures.

### Product Data:  Provide data on product characteristics, performance criteria and limitations.

### Manufacturer's Certificate:

#### Certify that Products meet or exceed specified [requirements][sustainability standards certifications].

Use this Paragraph when insulation to be used as a thermal barrier over foamed plastic insulation.

Certificates are used to verify compliance with specified requirements, typically though independent third party verification.

#### [Certify that products comply with requirements of CAN/ULC-S124 for use as a thermal barrier.]

## SUBMITTALS FOR INFORMATION

The following submittals are for information only; do not request these submittals if the information submitted will be assessed for acceptability.

### Section 01 33 00:  Submission procedures.

When manufacturer's instructions for specific installation requirements are referenced in Part 3 - Execution, include the following request for submittal of those instructions.  Edit the Part 3 statements to avoid conflict with manufacturer's instructions.

### Installation Data:  Manufacturer's special installation requirements, including special procedures, perimeter conditions requiring special attention [and [____]].

Include the following ONLY if specifying for a LEED project.  Specify only the technical requirements necessary to achieve the credits desired for this project.

### Sustainable Design:

#### Section [01 35 18]:  LEED documentation procedures.

#### Provide required LEED documentation for Product [recycled content] [regional materials] [low-emitting materials].

## CLOSEOUT SUBMITTALS

The following submittals are for project close-out purposes; do not request these submittals if the information submitted will be assessed for acceptability.

### Section [01 78 10]:  Submission procedures.

Include the following ONLY if specifying for a LEED project.

### Sustainable Design Closeout Documentation:  [_____].

## QUALITY ASSURANCE

### Sustainability Standards Certifications:

#### Insulation products shall comply with the requirements of the Cradle to Cradle Certified Product Standard, evidenced by a Bronze Material Health Certificate.

#### The manufacturer shall disclose insulation product's environmental impacts determined in accordance with ISO 14025, evidenced by an Environmental Product Declaration.

## DELIVERY, STORAGE, AND PROTECTION

### Section 01 61 00:  Transport, handle, store, and protect products.

### Deliver products in their original packages.

### Store products in weather protected environment, clear of ground and moisture and protected from direct exposure to sunlight.

# Products

## MANUFACTURERS

### Manufacturer - Basis of Design:

        - Thermafiber Inc.

- 1 Owens Corning Parkway

- Toledo, OH, 43659

- Toll Free: 1-800-GET-PINK

- Website: www.thermfiber.ca

        - English-language Contact: Matthew Schiedel

- E-mail: matthew.schiedel@owenscorning.com

- Telephone: 1-844-304-1623

        - French-language Contact: Salvatore Ciarlo

- E-mail: Salvatore.ciarlo@owenscorning.com

- Telephone: 1-800-504-8294

### Substitutions:  [Not permitted] [Refer to Section 01 62 00].

The following article “Regulatory Requirements” should be used when the mineral wool insulation will be used as thermal barrier over foamed plastic insulation as required by local code.

## REGULATORY REQUIREMENTS

### Conform to applicable code for provision of a thermal barrier over foamed plastics as follows:

#### CAN/ULC-S124: Class [A].

#### Minimum thermal barrier thickness: <138 mm><<5.5 inch>>.

## PERFORMANCE CRITERIA

### Thermal Resistance to ASTM C518: [Minimum <RSI-___/ 25 mm><<R-___ per inch>>][Required <RSI><<R-value>> as indicated on the Drawings].

Surface burning characteristics for CAN/ULC-S702 Type 1 products to have flame-spread classification not exceeding 25 and smoke-developed classification not exceeding 50 tested according to CAN/ULC-S102. Values noted below are actual results, well below required limits.

### Surface Burning Characteristics: [CAN/ULC-S102][ASTM E84].

#### Flame Spread: 0.

#### Smoke Developed: 0.

### Non-combustible when tested in accordance with [CAN/ULC-S114][ASTM E136].

Smoulder resistance for CAN/ULC-S702 Type 1 product requires the insulation to have a mean mass loss less than or equal to 2% tested according to CAN/ULC-S129. Value noted below is actual result, well below required limits.

### Smoulder resistance: 0.02% to CAN/ULC S129.

### Moisture Absorption to ASTM C1104: < 1% by volume.

### Fungi resistant when tested in accordance with ASTM C1338.

### Non-corrosive when tested in accordance with ASTM C665 (steel, aluminum and copper) and ASTM C795 (stainless steel).

### Recycled Content: Minimum 70%.

## MATERIALS

Edit these paragraphs to suit the project’s wall assemblies, specifically wood or steel framing.  Delete items not required.

### Mineral Wool Batt Insulation:  [CAN/ULC-S702] [ASTM C665] Type 1; preformed mineral fibre, friction fit, conforming to the following:

#### Wood-framed applications:

##### Thickness: [<89 mm><<3.5 inch>>][<140 mm><<5.5 inch>>][<146 mm><<5.75 inch>>][<180 mm><<7.1 inch>>][<203 mm><<8 inch>>].

##### Size:  [<381 mm><<15 inch>>][<584 mm><<23 inch>>] width x <1194 mm><<47 inch>> length.

#### Steel-framed applications:

##### Thickness: [<64 mm><<2.5 inch>>][<89 mm><<3.5 inch>>][<152 mm><<6 inch>>].

##### Size:  [<406 mm><<16 inch>>][<610 mm><<24 inch>>] width x <1219 mm><<48 inch>> length.

#### Facing:  Unfaced.

#### Acceptable Product: Thermafiber® UltraBatt™.

Insulation accessories are project specific; edit the following to suit. Delete items not required.

## ACCESSORIES

### Wire Mesh:  Galvanized steel, hexagonal wire mesh designed to retain insulation in place where no [interior][exterior] finish is provided.

### Wood Strapping: Refer to Section [06 10 00]. Designed to retain insulation in place where no [interior][exterior] finish is provided.

### Rafter Ventilation: Preformed polystyrene baffles designed to maintain air flow at eaves; size to suit rafter spacing:

#### Acceptable Product: <raft-R-mate®> attic vents by Owens Corning.

# Execution

## EXAMINATION

### Section 01 70 00:  Verify existing conditions before starting work.

### Verify that substrate, adjacent materials, and insulation are dry and ready to receive insulation.

### Ensure structural elements, mechanical and electrical services to be covered by the insulation have been inspected.

### Do not commence installation until base work has been corrected and inspections completed.

## INSTALLATION

### Install insulation to maintain continuity of thermal protection to building elements and spaces.

### Walls, parapets, curbs, partitions, exposed floors, cathedral ceilings and attic: Select batt dimensions for [steel][wood]-frame applications for friction fit.

### Attics: Install rigid polystyrene baffles to ensure no obstacle impedes free air circulation where ventilation is required.

### Fit insulation as follows:

#### Wall cavities: install insulation so that it is in continuous contact with the inside face of the exterior sheathing material.

#### Cathedral ceiling, flat or sloped roof: provide a ventilated air space as required by local building codes between insulation and roof deck.

#### Fit insulation tight in spaces and tight to exterior side of mechanical and electrical services within the plane of insulation.

#### Insulation batts should be butted tight at joints, filling all voids; do not over compress.

#### Trim insulation neatly to fit spaces.  Cut insulation with a serrated knife for custom fitting. Insulate miscellaneous gaps and voids.

Ensure clearances meet local building safety regulations and code requirements. For electrical fixtures housed in a CSA-approved insulated enclosure, prescribed clearances are not required unless indicated otherwise by the fixture’s manufacturer.

### Keep insulation minimum 75 mm from heat-emitting devices, such as recessed fixtures (which are not IC rated), and minimum 50 mm from sidewalls of CAN/ULC-S604 chimneys and CSA-B149.1 and CSA-B149.2 type B and L vents.

Select one or more of the appropriate option statements in the following paragraph.

### [Retain insulation in place with wire mesh secured to framing members] [Retain insulation in place with wood strapping secured to framing members].

### Do not enclose insulation until it has been inspected and approved by [Engineer] [Consultant][building inspector][other].

Include either or both of the following paragraphs as required.

### Coordinate work of this section with construction of vapour retarder specified in Section [07 26 00].

### Coordinate work of this section with construction of air barrier seal specified in Section [07 27 00].

## CLEANING

### Upon completion of installation, remove surplus materials, rubbish, tools and safety barriers. Leave work area ready for application of interior finish.

## SCHEDULES

The following article will assist in preparing a schedule for the project.   The following schedule includes are EXAMPLES only.  Edit the paragraphs below to create a schedule for the components specified in this section.  Do not repeat statements that may exist on drawings.

Specify RSI value only when not shown on drawings.

### Wall Insulation:  [<RSI-2.5><<R-14>>]

END OF SECTION