OWENS CORNING INSULATING SYSTEMS CANADA LP

GLASS FIBRE ACOUSTIC INSULATION

09 81 00.16

INTRODUCTION - TECHNICAL SPECIFICATIONS

This specification Section is used to describe the three types of board and blanket acoustic insulation fabricated by Owens Corning Insulating Systems Canada LP (Owens Corning Canada) in its Toronto (Ontario), Edmonton (Alberta), Newark, Ohio and Columbia manufacturing facilities and distributed under the following brand names:

EcoTouch® QUIETZONE® PINK™ FIBERGLAS® Acoustic Insulation

SelectSound® Black Acoustic Blanket Insulation

SelectSound® Black Acoustic Board Insulation

Filing, Organization and Formatting

This Section has been classified and numbered in accordance with the new MasterFormatTM classification system for the construction industry. Its number and title are :

09 81 00.16 – GLASS FIBRE ACOUSTIC INSULATION

This Section is also organized into three Parts and formatted like all other National Master Specification (NMS) Sections which are used by the majority of specifications writers in Canada.

Recommendations for the Use of Certain Tools

The SPEC NOTES printed in italic are used as a checklist or guide to the specifications writer in order to help him/her make the right decisions. The SPEC NOTES must be suppressed before printing the document.

The brackets [  ], with or without text, help the writer choose materials, products, references and other possibilities at his disposal. The brackets must be suppressed, including all choices not retained, before printing the document.

Professional Responsibility of the Specifications Writer

Owens Corning Canada Inc. publishes this document for information only and cannot in any way assume the role or the professional responsibility of the architect who must sign and seal his Drawings and Specifications.

This document, although written by experienced professionals, must not be copied in whole. It must be adapted or even modified to suit the particular needs of your Project. Our regional technical support representatives and our Engineering Services will be pleased and honoured to assist you with this.

NOTE TO THE READER: This Section 09 81 00.16 – GLASS FIBRE ACOUSTIC INSULATION is numbered to meet the recommendations of the MasterFormat classification system.

SPEC NOTE DESCRIPTION: This Section specifies glass fibre acoustic insulation products not specified in any other Section of the Specifications. Refer to pertinent related Sections for information regarding any acoustic/fire insulation product not described herein.

SPEC NOTE: This Section can be used to specify the requirements of Work described below. It may also be used as a guide reference for the inclusion of certain articles and paragraphs (i.e. environmental, product descriptions, installation methods) in other Sections pertaining to projects requiring board or blanket glass fibre acoustic insulation prescribed in this Section.

For additional information concerning these products, contact your regional technical representative or consult Owens Corning Canada’s web site at the following address: www.owenscorning.ca.

SPEC NOTE ENVIRONMENT: This Section specifies environmentally responsible material choices, including recycling and reuse options, and generally available disposal options. The inclusion of recycled content provides efficient use of natural resources and diverts materials from the waste system.

SPEC NOTE: The glass fibres that compose the bulk of Owens Corning’s  EcoTouch® QUIETZONE® and SELECTSOUND® glass fibre acoustic insulation products are produced from used recycled glass containers and flat glass products. These recycled wastes originate from two sources:

-	“Post-consumer” waste from construction sites and consumer “blue boxes” that have been separated and reintroduced into the manufacturing process.

-	“Post-industrial” waste from manufacturers.

Part 1		General

1.1		SECTION INCLUDES

SPEC NOTE: Select one or more locations to be insulated; suppress or add as required.

.1	Glass fibre acoustic insulation installed in the following locations:

.1	Voids in (wood) (steel) stud partitions [and framing placed on each side of (concrete) 	(concrete masonry unit) walls].

.2	Between [ceiling] [floor] [light steel] [wood] [engineered wood] joists.

.2	[Semi-exposed] [and] [exposed] black glass fibre acoustic insulation [blankets] [boards] installed in the following locations:

.1	On concrete and concrete masonry unit walls.

2	On gypsum board partitions where a blanket acoustic insulation has been installed (refer to

ECOTOUCH® QUIETZONE® Product Data Sheet 09 81 16.16.OCC QUIETZONE).

.3	Above perforated suspended ceilings.

[.4	Above ceilings or under raised floors used as ventilation plenums.]

.3	Accessories required to apply and maintain insulation in place.

1.2		RELATED SECTIONS

SPEC NOTE: Select the appropriate Section or Sections directly pertaining to the following associated items.

.1	Section [(06 10 10)[06101) –- Rough Carpentry]

.2	Section [07 21 16.19 –- Batt Glass Fibre Thermal Insulation]

.3	Section [07 21 26.16 –- Blown Glass Fibre Insulation]

.4	Section [07 84 00 –- Firestopping]

.5	Section [07 92 10 –- Joint Sealing]

.6	Section [09 22 16 –- Non-structural Metal Framing]

.7	Section [09 51 13 –- Acoustical Panel Ceilings]

.8	Section [09 54 23 –- Linear Metal Ceilings]

.9	Section [09 84 00 –- Acoustic Treatment]

.10	Section [14 91 33 –- Linen Chutes]

.11	Section [14 91 82 –- Waste Chutes]

.12	Section [23 32 48 –- Ventilation Plenum]

1.3		REFERENCES

SPEC NOTE: Edit list to suit standards specified in project specification.

.1	Underwriters' Laboratories of Canada (ULC):

.1	CAN/ULC-S702, Standard Method for Thermal Insulation, Mineral (Glass) Fibre, for Buildings supersedes CSA A101-M1983); Type I, preformed insulation

.2	CAN/ULC-S102, Standard Method of Test for Surface Burning Characteristics of Building Materials and Assemblies

.3	CAN/ULC-S102.2, Standard Method of Test for Surface Burning Characteristics of Flooring, Floor Coverings and Miscellaneous Materials and Assemblies

.4	CAN4-S114, Standard Method of Test for Determination of Non-Combustibility in Building Materials

.5	CAN/ULC-S604, Type A Chimneys

SPEC NOTE: CAN/ULC-S702 applies only to ECOTOUCH® QUIETZONE®, excluding thermal resistance properties.

.2	National Research Council (NRC) of Canada:

.1	Summary Report for Consortium on Gypsum Board Walls: Sound Transmission

Results, Internal Report IRC-IR-693

.2	Gypsum Board Walls: Transmission Loss Data, internal report No. IRC-IR-761

.3	Summary Report for Consortium on Floors: Sound Transmission Class and Impact Insulation Class Results, Internal Report IRC-IR-766

.3	Testing Laboratories:

.1	National Research Council of Canada’s acoustic testing facility

.2	Owens Corning Acoustic Laboratory (W & OC), Granville, Ohio & Acculab Consultants in Acoustics, Columbus, Ohio

.3	Riverbank Acoustic Laboratory (RAL)

.4	List of Equipment and Materials, Building Materials, Underwriters

Laboratories of Canada (ULC)

.5	List of Equipment and Materials Fire Resistance, Underwriters’

Laboratories of Canada (ULC)

.6	Fire Resistance, Volume 1, Underwriters Laboratories Inc. (ULI)

.4	American Society for Testing and Materials International, (ASTM):

.1	ASTM C165 – Test for Measuring Compressive Properties of Thermal Insulations

.2	ASTM C423 – Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method

.3	ASTM C665 – Standard Specification for Mineral Fiber Board Thermal Insulation for

Light Frame Construction and Manufactured Housing

.4	ASTM C553, Type 1 – Specification for Mineral Fiber Board Thermal Insulation for

Commercial and Industrial Applications

.5	ASTM C1104 – Test Method for Determining the Water Vapor Sorption of Unfaced

Mineral Fiber Insulation

.6	ASTM C1338 – Standard Test Method for Determining Fungi Resistance of Insulation Materials and Facings

.5	Canadian Gas Association (CGAl):

.1	CAN/CSA-B149.1HB, Natural Gas and Propane Installation Code Handbook

.2	CAN/CSA-B149.2, Propane Storage and Handling Code

.6	Health Canada/Workplace Hazardous Materials Information System (WHMIS):

.1	Visit www.owenscorning.ca for Material Safety Data Sheet (MSDS) for Low Density Fiber Glass Insulation – Unfaced

.2	Visit www.owenscorning.ca for Material Safety Data Sheet (MSDS) for black SELECTSOUND® Acoustic Board

.3	Visit www.owenscorning.ca for Material Safety Data Sheet (MSDS) for black SELECTSOUND® Acoustic Blanket

1.4	SUBMITTALS

.1	Submit product data in accordance with Section [01 33 00 –- Submittal Procedures] [01 47 15 –- Sustainable Requirements: Construction].

.2	Submit environmental certificates issued by independent agencies and the evaluation of the products' contribution towards obtaining LEED® Canada credits mentioned in article QUALITY ASSURANCE.

.3	Submit WHMIS MSDS –- Material Safety Data Sheets in accordance with Section [02 61 33 –- Hazardous Materials]. Indicate VOC content.

.4	Submit samples in accordance with Section [01 33 00 –-Submittal Procedures] [01 47 15 –- Sustainable Requirements: Construction].

.1	One EcoTouch® QUIETZONE® [black] acoustic blanket [and] [black board] with its [their] Product Data Sheet[s].

.2	One [two] sample[s] of each type specified accessory and fastener.

1.5	QUALITY ASSURANCE

.1	Identification: Each bag of insulation is labelled with the information listed in Product Data Sheets:

.1 	09 81 16.16.OCC ECOTOUCH® QUIETZONE® PINK™ FIBERGLAS® Acoustic Insulation.

.2 	09 81 13.16.OCC SELECTSOUND® Black Acoustic Board Insulation.

.3	09 81 16.16.OCC SELECTSOUND®  Black Acoustic Blanket Insulation.

.2	Environmental certification by an independent agency:

SPEC NOTE: The GREENGUARD Environmental Institute (GEI) is a third-party, industry-independent, non-profit organization that certifies various characteristics of products submitted by manufacturers. The GEI oversees the GREENGUARD Certification Program to establish, among others, the low-emissivity of toxic chemical products and volatile particles from glass fibre acoustic insulation installed inside a building. Product performances are measured following standardized procedures, test methods, allowable emissions levels, product sample collection and handling, testing type and frequency, and program application processes and acceptance.

.1	Submit the "GREENGUARD Standard for Low Emitting Products Certified" certificate issued by the GREENGUARD Environmental Institute (GEI) certifying that the prescribed acoustical blanket [and board] insulation meets low VOC emission requirements contained in the tested product; web site :www.greenguard.org.

SPEC NOTE: SCS (Scientific Certification Systems) is an independent third-party certification agency; originally, its role was to test for pesticide residues in fresh produce. The Environmental Claims Certification program was initiated by the SCS; this program’s objective is to measure the recycled materials content in manufactured products. When a submitted product meets the various procedures imposed by the program, the SCS issues a “Certificate of Achievement” for a limited duration. This certificate permits designers to confidently choose an Owens Corning manufactured acoustic insulation –- to add to accumulative credits in order to obtain the desired LEED Canada certification.

.2	Submit the certificate issued by the Scientific Certification Systems (SCS) certifying that the prescribed acoustical batt [and board] insulation meets the minimum claimed recycled materials content; web site :www.scscertifed.com.

.3	The certificates shall include the following details: certificate number, duration of the certification and all restrictions issued by the certification agency for the product[s], as applicable.

SPEC NOTE: For quite a few years now the Canada Green Building Council (CaGBC) has promoted the application of the LEED Green Building Rating System (LEED Canada NC and CS) in Canada. LEED is the acronym of Leadership in Energy and Environmental Design.

SPEC NOTE: As a design guideline and a third-party certification tool, LEED aims to improve occupant comfort, environmental performance and economical efficiency of buildings by the use of proven and innovative procedures, standards and technologies. It furnishes a definition generally recognized in the industry of what constitutes a “green building”. The LEED Green Building Rating System comprises a set of explicit performance criteria organized into seven (7) principal categories: Sustainable Sites, Water Efficiency, Energy and Atmosphere, Materials and Resources, Indoor Environmental Quality. Innovation in Design,  Regional Priority. This seventh category includes Durable Building Credit (formerly MR Credit 8) and a Regional Priority Credit which addresses geographically-specific environmental properties For each performance criteria, the LEED Rating System states the fundamental objective and the necessary documentation to be submitted to meet each compulsory condition and to obtain each voluntary “credit”. Projects are awarded one or more points for their certification by meeting or exceeding each credit’s technical requirements. All compulsory conditions must be met before the project may be admissible to the certification. The points are then accumulated into a final total corresponding to one of the possible LEED certification levels: CERTIFIED, SILVER, GOLD or PLATINUM.

SPEC NOTE: Indoor Air Quality (IAQ) LEED credits pertaining to low VOC emitting materials are awarded to adhesives, waterproofing mastics, composite wood products and carpeting systems but are not applicable to acoustic insulation.

.3	Contribution of the acoustic insulation to the LEED® certification of the building Project:

.1	Categories and performance criteria to obtain credits, as established by the Canadian Green Building Council Rating System LEED® Canada NC and CS:

.1	Materials and Resources (MR): credit 4 recycled content.

.2	Materials and Resources (MR): credit 5  for locally or regionally produced materials.

.3	Material Disclosure and Assessment (MR PC 61):

The intent is to increase the use of products and materials with life cycle, ingredients, and attributes understood and optimized to improve overall environmental, economic, and social performance.

.4	Innovation & Design Process (ID): credit 1 dependent on effectiveness of innovation being applied;(the acoustical performance of glass fibre acoustic insulation is effective in reducing noise transfer through building assemblies).

1.6		DELIVERY, STORAGE AND HANDLING

.1	Deliver, store and handle glass fibre batts, blankets and boards in accordance with manufacturer's printed instructions.

.2	Store materials in their original packaging in a dry interior location.

.3	Protect materials from the weather and store at a temperature and a relative humidity recommended by the manufacturer.

1.7	WASTE MANAGEMENT AND DISPOSAL

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section [01 74 19 –- Construction/Demolition Waste Management and Disposal].

.2	Remove from site and dispose of packaging materials at appropriate recycling facilities.

.3	Collect and separate for disposal [paper] [plastic] [polystyrene] [corrugated cardboard] packaging material [in appropriate on-site bins] for recycling in accordance with Waste Management Plan.

1.8	SITE ENVIRONMENTAL REQUIREMENTS

.1	Apply acoustic insulation only when ambient climatic conditions (high humidity levels) and temperature of surfaces to be insulated are within acceptable limits to prevent risk of condensation.

.2	Safety: Comply with requirements of Workplace Hazardous Materials Information System (WHMIS) regarding use, handling, storage, and disposal of acoustic insulation materials.

.3	Protection

SPEC NOTE:  Specify protection when glass fibre acoustic insulation is applied in an enclosed area.

.1	Ensure applicator's personnel wears protection equipment such as breathing masks (dust-proof type masks prescribed in Product Data Sheet), face and eye protection (safety goggles or eye glasses) and skin protection (gloves, long-sleeved shirts and pants).

.2	Provide temporary enclosures to prevent dust from contaminating air beyond application area.

.3	Protect adjacent surfaces and equipment from damage by fall-out and dust.

Part 2	Products

SPEC NOTE: Use EcoTouch® QUIETZONE® PINK™ FIBERGLAS® Acoustic Insulation Blankets to fill wall, partition and floor and ceiling cavities to contribute to the assembly's soundproofing. For additional information, refer to Product Data Sheet 09 81 16.16.OCC EcoTouch® QUIETZONE®. EcoTouch® QUIETZONE® acoustic batts are non-combustible and ULC labeled.

Use EcoTouch® QUIETZONE® PINK™ FIBERGLAS® Acoustic Insulation blankets in ULC fire rated assemblies.

The ULC Fire Resistance Directory section under the title ‘’Walls and Partitions’’ states:

The wall and partition designs illustrated are identified by a design number and an hourly fire rating. With the exception of support (i.e. studs) and fastener (i.e. nails, screws) spacings, the dimensions given in the following designs are to be construed as the minimum allowable for each rated assembly. Support and fastener spacings are the maximum allowable.

Listed and labelled mineral thermal building insulation that is processed from rock and glass may be used only in ULC non-loadbearing wall assembly designs consisting of wallboard and steel or wood studs with a fire resistance rating not exceeding 2 hours when illustrated without insulation, without detracting from the rating assigned to the assembly.

The following ULC fire rated assemblies can be referenced with EcoTouch® QUIETZONE® PINK™ FIBERGLAS® Acoustic Insulation blankets filling the cavity:

ULC 407, 409  413, 453, 484 and 486 for a 45-minute to 1-hour fire rating non-load bearing wall with steel studs and listed gypsum board;

ULC  449, 453 and 454 for a 1- to 2- hour fire rating non-load bearing wall with steel studs and listed gypsum board.

2.1	GLASS FIBRE ACOUSTIC INSULATION FOR CAVITIES IN PARTITIONS, [FURRED WALLS], CEILINGS [AND] FLOORS

.1	Glass Fibre Acoustic Blanket insulation:

.1	To CAN/ULC-S702, type 1, pre-formed unfaced glass fibre batt acoustic insulation.

.2	STC contribution and fire resistance (hr):

.1	Refer to NBC, tables A-9.10.3.1-A/-B and Product Data Sheet

09 8116.16.OCC  EcoTouch® QUIETZONE® for various assemblies contributing to acoustic performance and fire resistance.

.3	Surface burning characteristics to CAN/ULC-S102:

.1	flame spread: 0

.2	smoke developed: 0

.4	Surface burning characteristics to CAN/ULC-S102.2:

.1	flame spread: 0

.2	smoke developed: 0

.5	Smoulder resistance: to ULC S-129.

.6	Non-combustible: to CAN4-S114.

7.	Formaldehyde-free formulation

.8	Does not support mold growth: meets fungal resistance criteria in ASTM C1338

.9	Non-corrosive: meets corrosion resistance criteria in ASTM C665

.2	Selected product: EcoTouch® QUIETZONE® PINK™ FIBERGLAS® Acoustic Blanket insulation manufactured by Owens Corning Canada.

SPEC NOTE: Use EcoTouch® SELECTSOUND® Black Acoustic Blanket in rooms where a high sound absorption and reverberation control is required, notably in museums, churches, multiplex cinemas, sound studios, performing arts centres, sports complexes and above metal suspended ceilings; for additional information, refer to

Product Data Sheet 09 81 16.16.OCC SELECTSOUND® Black Acoustic Blanket Insulation.

[2.2	GLASS FIBRE BLACK ACOUSTIC BLANKET INSULATION FOR SURFACE APPLICATION ON WALLS, (SUSPENDED CEILINGS) (AND) VENTILATION PLENUMS

.1	Glass Fibre Acoustic Blanket insulation:

.1	To ASTM C553, Type III, pre-formed blanket acoustic insulation, black colour, faced with a black fibre glass mat.

SPEC NOTE: Refer to TABLE 2 –- Acoustic Performances in Product Data Sheet for STC at different frequencies.

.2	Noise Reduction Coefficients to ASTM C423, (type A apparatus, on solid backing):

Thickness		Density		Noise Reduction Coefficient (NRC)

25 mm (1 in.)	24 kg/m3 (1.5 lbs/ft3)			0.70

51 mm (2 in.)	24 kg/m3 (1.5 lbs/ft3)			1.00

.3	Surface burning characteristics to CAN/ULC-S102 and UL 723:

.1	flame spread: 25

.2	smoke developed: 50

.2	Selected Product: SELECTSOUND® Black Acoustic Blanket insulation manufactured by Owens Corning.]

SPEC NOTE: SELECTSOUND® Black Acoustic Board is used in the same applications as black acoustic blankets where higher compressive strength is required. For additional information, refer to

Product Data Sheet 09 81 13.16.OCC SELECTSOUND® Black Acoustic Board Insulation.

[2.3	GLASS FIBRE BLACK ACOUSTIC BOARD INSULATION FOR SURFACE APPLICATION ON WALLS, (AND SUSPENDED CEILINGS)

.1	Glass Fibre Acoustic Board Insulation:

.1	Pre-formed semi-rigid mineral fibre glass board acoustic insulation, black colour, faced with a black glass fibre mat.

.2	Nominal compressive strength: to ASTM C165:

.1	at 10% deformation: 1197 Pa (25 lbs/ft2)

.2	at 25% deformation: 4309 Pa (90 lbs/ft2)

SPEC NOTE: For specific applications and acoustical performance for the SELECTSOUND® Acoustic Board product refer to the Product Data Sheet 09 81.13.16.OCC SELECTSOUND® Black Acoustic Board Insulation.

.3	Noise Reduction Coefficients to ASTM C423, (type A apparatus, on solid backing):

Thickness		Density		Noise Reduction Coefficient (NRC)

25 mm (1 in.)	48 kg/m3 (3.0 lbs/ft3)			0.70

51 mm (2 in.)	48 kg/m3 (3.0 lbs/ft3)			1.00

.4	Surface burning characteristics to CAN/ULC-S102 and UL 723:

.1	flame spread: 25

.2	smoke developed: 50

.2	Selected Product: SELECTSOUND® Black Acoustic Board insulation manufactured by Owens Corning.]

2.4		ENVIRONMENTAL CERTIFICATION

SPEC NOTE: Include the following paragraphs 2.4.1 and 2.4.2 to list the product’s environmental qualities that are certified by third-party independent agencies. Coordinate with information stated in this Section’s article “Quality Assurance” and the CaGBC LEED Canada NC and CS  Green Building Rating System.

.1	Certified post-industrial and post-consumer recycled materials content                                           :

.1	EcoTouch™ QUIETZONE®  PINK™ FIBERGLAS®

.1	73%, certified in accordance with the Scientific Certification Systems (SCS) Environmental Claims Certification:

.1	9% “post-industrial” (or pre-consumer) recycled materials content

.2	64 % “post consumer” recycled materials content.

.2	SELECTSOUND® Black Acoustic Board and Blanket

.1 	57% (claimed by the manufacturer)

.1	52% “post-industrial” (or pre-consumer) recycled materials content

.2	5 % “post consumer” recycled materials content.

.2	SCS Certification Certificate of Achievement: Glass Fiber Insulation Products manufactured by Owens Corning (various forms and sizes), web site: www.scscertified.com.

.3 	GREENGUARD Indoor Air  Quality CertifiedSM to meet stringent air quality standards:

.1	GREENGUARD Product Emission Standard for Children & Schools:

.1	Individual VOCs			< 1/100 TLV and < ½ CA chronic RE

.2	Formaldehyde			< 0.0135 ppm/13.5 ppb

.3	Total VOCs			< 0.22 mg/m³

.4	Total Aldehydes			< 0.043 ppm/43 ppb

.5	Total Phthalates		< 0.01 mg/m³

.6	Total Particles (< 10µm) 	< 0.02 mg/m³

.2	GREENGUARD Indoor Air Quality Certified certification, web site: www.greenguard.org

[.1	EcoTouch® QUIETZONE® PINK™ FIBERGLAS® Acoustic Blanket Insulation: Owens Corning EcoTouch® PINK™ FIBERGLAS® Blanket Thermal/ Acoustical  Insulation.]

SPEC NOTE: Include the following paragraph 2.4.3 to list the product’s environmental qualities as stated by Owens Corning that may also contribute to the LEED Canada NC and CS Rating System credits for the recycled materials content that are certified by third-party independent agencies as indicated in this Section’s article “Quality Assurance”.

2.5		ACCESSORIES FOR BLACK ACOUSTIC BOARD AND BLANKET INSULATION

.1	Fasteners:

.1	Stick clips: impaling type, supplied with [self-adhesive][screw fastened] perforated 50 mm x

50 mm x 0.8 mm sheet steel base as recommended by manufacturer; with integral 2.5 mm

diameter sharpened pin of appropriate length and minimum 25 mm diameter self-locking

retainers.

[.2	Adhesive: as recommended by manufacturer.]

Part 3	Execution

3.1	WORKMANSHIP –- GENERAL

.1	Compliance: comply with manufacturer's written data, including product Technical Bulletins, Product Catalogue installation instructions, product package installation instructions, and Product Data Sheets.

.2	Examine installation conditions and ensure:

.1	Acoustic and firestop sealants required at [steel] [wood] stud framing [concrete masonry unit wall] junctions with adjacent building components or at mechanical and electrical conduit and duct penetrations are installed.

.2	Mechanical, electrical [and] [telecommunications] service lines in walls [and] [ceilings][floors] to be insulated acoustically have been inspected.

.3	Supports are dry and ready to receive the acoustic insulation.

.3	Do not commence installation until base work has been corrected and inspections completed.

SPEC NOTE: Ensure resilient furring will be installed where specified.

.4	Coordinate acoustic insulation installation with gypsum board [  ] [metal resilient] [wood] [furring] installation on studs [and] [joists] at [400 mm (16 in.)] [600 mm (24 in.)].

.5	Do not compress acoustic insulation to fit voids.

SPEC NOTE: Ensure clearances meet local building safety regulations and code requirements. For electrical fixtures housed in a CSA-approved insulated enclosure, prescribed clearances are not required unless indicated otherwise by the fixture's manufacturer. Edit the following paragraph to suit.

.6	Keep insulation minimum 75 mm from heat-emitting devices, such as recessed light fixtures (which are not encased in thermally insulated boxes), and minimum 50 mm from sidewalls of chimneys as per CAN/ULC-S604 and CSA-B149.1 and CSA-B149.2 type B and L vents.

3.2	ACOUSTIC BLANKET INSULATION INSTALLATION IN PARTITION, [FURRED WALL], CEILING [AND] FLOOR VOIDS

.1	Install acoustic blankets full width and length, with tight joints, between wall [ceiling] [floor] framing and around penetrating electrical service boxes, piping, air ducts and frames.

.2	Partitions, [furred concrete or concrete masonry unit walls]:

.1	Place [__] thick acoustic blankets where indicated on the Drawings and to thickness required to obtain acoustic performance indicated for the assembly.

.2	Place acoustic blankets between studs ensuring friction fit, free of sags, folds or open joints that may let sound pass through.

.3	Install blankets from the bottom up, tightly adjusted and trim accurately with a utility knife.

[.3	Ceilings, (floors):

.1	Place [__] thick acoustic blankets where indicated on the Drawings and to thickness required to obtain acoustic performance indicated for the assembly.

.2	Install acoustic blankets in full width and length between ceiling [floor] joists and adjust accurately, free of sags or open joints that may let sound pass through.

.3	Overlap joints in multiple layer installations.]

SPEC NOTE: Verify with acoustic ceiling tile manufacturer if tile loading is permitted depending on installation conditions. Owens Corning can supply information on unit loads, as required.

[.4	Place [___] thick acoustic blankets above suspended ceiling tiles located [above offices and extending [2440 mm (8')] above adjacent open areas.]

[.5	Place [__] thick acoustic blankets where indicated on the Drawings and to thickness required to obtain acoustic/fire performance indicated for the assembly.]

3.3	BLACK BLANKET [BOARD] ACOUSTIC INSULATION INSTALLATION ON WALLS, [SUSPENDED CEILINGS] [AND] [VENTILATION PLENUM]

.1	Carefully adjust acoustic blankets [and] [boards] horizontally and vertically.

.1	Butt joints tightly between each blanket [board] and around penetrating electrical service boxes, piping, air ducts and framing.

.2	Where multiple layers are required, overlap all joints.

.2	Coordinate blanket [and] [board] installation with decorative perforated screen [suspended ceiling] installation prescribed in other Sections and used to hold the acoustic insulation in place.

.3	Vertical application:

.1	Mechanical fastening: fasten acoustic blankets [boards] using minimum one (1) stick clip per 0.2 m2 (2 sq. ft); fasten stick clips to supports as per support manufacturer's instructions (screws or adhesive). Impale blankets [and] [boards] and lock in place with retainers. Cover protruding metal pins.

.2	Adhesive fastening:

.1	Permanent installation: adhere blankets [and] [boards] to prevent sagging once fastened.

.2	Temporary installation: adhere blankets [and] [boards] temporarily until retained by a decorative screen or until mechanically fastened.

3.4	CLEANING

.1	Upon completion of installation, remove surplus materials, rubbish, tools and safety barriers.

.2	Take all necessary precautions to keep acoustic insulation and its components clean. Immediately remove all dirt and stains.

OWENS CORNING INSULATING SYSTEMS LP

Head Office and Sales

3450 McNicoll Avenue

Scarborough, Ontario

M1V 1Z5

Tel:  1 800 504-8294

Fax: 1 800 504-9698

email: salvatore.ciarlo@owenscorning.com

MasterFormat is a trademark of the Construction Specifications Institute, Inc. LEED is a registered trademark of U.S. Green Building Council. GREENGUARD Indoor Air Quality Certified is Reg. U.S. Pat & TM Office. The colour PINK is a registered trademark of Owens Corning. 
© 2006-2013 Owens Corning. All Rights Reserved.

Publication # 200024F

Printed in Canada November 2013