# OWENS CORNING INSULATING SYSTEMS CANADA LP

BLOWN GLASS FIBRE INSULATION

07 21 26.16

INTRODUCTION – TECHNICAL SPECIFICATIONS

This specification Section is used to describe blown glass fibre insulation manufactured by Owens Corning Insulating Systems Canada LP (Owens Corning Canada) and distributed under the name PROPINK® Blown Glass Fibre Insulation.

Filing, Organization and Formatting

This Section has been classified and numbered in accordance with the new MasterFormatTM classification system for the construction industry. Its number and title are:

07 21 26.16 – BLOWN GLASS FIBRE INSULATION

This Section is also organized into three Parts and formatted like all other National Master Specification (NMS) Sections which are used by the majority of specifications writers in Canada.

Recommendations for the Use of Certain Tools

The SPEC NOTES printed in italic are used as a checklist or guide to the specifications writer in order to help him/her make the right decisions. The SPEC NOTES must be suppressed before printing the document.

The brackets [  ], with or without text, help the writer choose materials, products, references and other possibilities at his disposal. The brackets must be suppressed, including all choices not retained, before printing the document.

Professional Responsibility of the Specifications Writer

Owens Corning Canada publishes this document for information only and cannot in any way assume the role or the professional responsibility of the architect who must sign and seal his Drawings and Specifications.

This document, although written by experienced professionals, must not be copied in whole. It must be adapted or even modified to suit the particular needs of your Project. Our Technical Representatives and our Engineering Services will be pleased and honoured to assist you with this.

NOTE TO THE READER:  This Section 07 21 26.16 – BLOWN GLASS FIBRE INSULATION has been renumbered and re-titled to meet the recommendations of the MasterFormatTM  classification system. This new number and title is more specific than the 2005 National Master Specification (NMS) classification which is 07 21 26 – BLOWN INSULATION (previously numbered 07211).

SPEC NOTE DESCRIPTION: This Section specifies PROPINK Blown Glass Fibre Insulation used to provide thermal insulation to attics (or roof-spaces) and other parts of buildings with a maximum slope of 4.5: 12, floors located above non-heated spaces, and the acoustical insulation of floors between acoustically separated areas. This Section also describes the pneumatic (blowing) application to horizontal surfaces using polyethylene film or mesh containment fabric. This blown insulation is manufactured by Owens Corning in their Canadian manufacturing facilities (Toronto, Ontario and Edmonton, Alberta).

For additional information concerning this product, refer to Product Data Sheet 07 21 26.16. PROPINK Blown Glass Fibre Insulation or contact your regional technical representative or consult Owens Corning Canada’s web site at the following address: www.owenscorning.ca.

SPEC NOTE ENVIRONMENT: This Section specifies recycling and reuse options, and generally available disposal options. The inclusion of recycled content provides efficient use of natural resources and diverts materials from the waste system.Increased RSI (R)-value insulation levels will provide improved energy efficiency. Improved energy efficiency reduces the use of nonrenewable energy sources and provides a lessened contribution to global warming.

SPEC NOTE: The glass fibres that compose the bulk of PROPINK Blown Glass Fibre Insulation are produced from used recycled glass containers and flat glass products. These recycled wastes originate from two sources:

-	”Post-consumer” waste from construction sites and consumer ”blue boxes” that have been 		separated and reintroduced into the manufacturing process.

-	“Post-industrial” waste from manufacturers.

Part 1	General

1.1		SECTION INCLUDES

SPEC NOTE: Select one or more locations to be insulated; suppress or add as required.

.1	Thermal [and acoustical] blown glass fibre insulation, pneumatically placed on horizontal surfaces at the following building locations:

.1	Roof-space (or attic) above flat ceilings or ceilings with maximum 4.5: 12 slope.

.2	Floor[s] above an unheated space.

.3	Floor[s] between spaces separated by an acoustic barrier.

.2	Accessories required to apply and maintain insulation in place.

1.2	RELATED SECTIONS

SPEC NOTE: Select the appropriate Section or Sections directly pertaining to the following associated items.

.1	Section [07 21 16.16 – Batt Glass Fibre Thermal Insulation]

.2	Section [07 21 13.13 – Polystyrene Board Thermal Insulation]

.3	Section [07 26 00 – Vapour Retarders]

.4	Section [07 22 16 – Roof Insulation]

.5	Section [07 27 23.13 – Polystyrene Board Air Barrier]

.6	Section [09 81 16.16 – Glass Fibre Acoustical Batt Insulation]

  - REFERENCES

SPEC NOTE: Edit list to suit standards specified in project specification.

.1	Underwriters' Laboratories of Canada (ULC)

.1	CAN/ULC-S702, Thermal Insulation, Mineral Fibre, for Buildings (Supersedes CSA A101-M1983)

.2	CAN/ULC-S604, Type A Chimneys

.2	Canadian Standards Association (CSA International)

.1	CAN/CSA-B149.1, Natural Gas and Propane Installation Code

.2	CAN/CSA-B149.2, Propane Storage and Handling Code

.3	National Research Council (NRC) of Canada/Institute for Research in Construction (IRC) – Canadian Construction Materials Centre (CCMC)

.1	CCMC Product Listing Number 12851-L

.4	Health Canada/Workplace Hazardous Materials Information System (WHMIS)

.1	Material Safety Data Sheet (MSDS) N° 15-MSD-23118-01-B for PROPINK® Blown FIBERGLAS® Insulation

1.4	SUBMITTALS

.1	Submit product data in accordance with Section [01 33 00 - Submittal Procedures] [01 47 15 – Sustainable Requirements: Construction].

.2	Submit proof of manufacturer's CCMC Listing and Listing number to [Engineer] [Consultant].

.3	Submit environmental certificates issued by independent agencies listed in article 1.5 QUALITY ASSURANCE and the evaluation of the contribution of the product[s] towards obtaining LEED® credits.

.4	Submit WHMIS MSDS –  Material Safety Data Sheets in accordance with Section [02 61 33 – Hazardous Materials].

1.5	QUALITY ASSURANCE

.1	Contractor-applicator qualification:

.1	Glass fibre blown insulation shall be installed by a qualified applicator trained in the installation of this type of insulation in compliance with the most current edition of CAN/ULC-S702.2 Mineral Fibre Thermal Insulation for Buildings, Part 2 Application Guidelines outlines suitable application methods.

.2	Other requirements may be stipulated by the manufacturer.

.3	The applicator shall document the installation by completing and certifying a "Certificate of Coverage," available from the manufacturer or distributor of the product. The certificate shall include the statements listed in Product Data Sheet 07 21 26.16.OCC PROPINK Blown Glass Fibre Insulation as required in Appendix A to CAN/ULC-S702.

.2	Identification: Each bag of insulation shall be labelled with the information listed in 07 21 26.16.OCC PROPINK Blown Glass Fibre Insulation as required by article 8.2.2.1 of CAN/ULC-S702.

.3	Environmental certification by an independent agency:

SPEC NOTE: The GREENGUARD Environmental Institute (GEI) is a third-party, industry-independent, non-profit organization that certifies various characteristics of products submitted by manufacturers. The GEI oversees the GREENGUARD Certification Program to establish, among others, the low-emissivity of toxic chemical products and volatile particles from blown glass fibre insulation installed inside a building. Product performances are measured following standardized procedures, test methods, allowable emissions levels, product sample collection and handling, testing type and frequency, and program application processes and acceptance.

.1	Submit the “GREENGUARD Standard for Low Emitting Products Certified” certificate

issued by the GREENGUARD Environmental Institute (GEI) certifying that the

prescribed blown glass fibre insulation meets low VOC emission requirements

contained in the tested product; web site : www.greenguard.org.

SPEC NOTE: SCS (Scientific Certification Systems) is an independent third-party certification agency; originally, its role was to test for pesticide residues in fresh produce. The Environmental Claims Certification program was initiated by the SCS; this program’s objective is to measure the recycled materials content in manufactured products. When a submitted product meets the various procedures imposed by the program, the SCS issues a “Certificate of Achievement” for a limited duration. This certificate permits designers to confidently choose a manufactured product – in this case Owens Corning PROPINK blown glass fibre insulation – to add to accumulative credits in order to obtain the desired LEED Canada certification.

.2	Submit the certificate issued by the Scientific Certification Systems (SCS) certifying

that the prescribed blown glass fibre insulation meets the minimum

claimed recycled materials content; web site: www.scscertified.com.

.3	The certificates shall include the following details: certificate number, duration of the 	certification and all restrictions issued by the certification agency for the product, as 	applicable.

SPEC NOTE: For quite a few years now the Canada Green Building Council (CaGBC) has promoted the application of the LEED –  Green Building Rating System (LEED Canada NC and CS) in Canada. LEED is the acronym of Leadership in Energy and Environmental Design.

SPEC NOTE: As a design guideline and a third-party certification tool, LEED aims to improve occupant comfort, environmental performance and economical efficiency of buildings by the use of proven and innovative procedures, standards and technologies. It furnishes a definition generally recognized in the industry of what constitutes a “green building”. The LEED –  Green Building Rating System comprises a set of explicit performance criteria organized into seven (7) principal categories: Sustainable Sites, Water Efficiency, Energy and Atmosphere, Materials and Resources, Indoor Environmental Quality. Innovation in Design,  Regional Priority. This seventh category includes Durable Building Credit (formerly MR Credit 8) and a Regional Priority Credit which addresses geographically-specific environmental properties

For each performance criteria, the LEED Rating System states the fundamental objective and the necessary documentation to be submitted to meet each compulsory condition and to obtain each voluntary “credit”. Projects are awarded one or more points for their certification by meeting or exceeding each credit’s technical requirements. All compulsory conditions must be met before the project may be admissible to the certification. The points are then accumulated into a final total corresponding to one of the possible LEED certification levels: CERTIFIED, SILVER, GOLD or PLATINUM.

SPEC NOTE: Indoor Air Quality (IAQ) LEED credits pertaining to low VOC emitting materials are awarded to adhesives, waterproofing mastics, composite wood products and carpeting systems but are not applicable to thermal insulation.

.4	Contribution of the blown glass fibre insulation to the LEED certification of the building Project:

.1	Categories and performance criteria to obtain credits, as established by the Canadian Green Building Council Rating System LEED® CANADA NC and CS.

.1	Energy and Atmosphere (EA): credit 1 for the optimization of new or existing building energy performance.

.2	Materials and Resources (MR): credit 4 for post-industrial and post-consumer recycled materials content.

.3	Materials and Resources (MR): credit 5 for locally or regionally produced materials.

.4	Material Disclosure and Assessment (MR PC 61):

The intent is to increase the use of products and materials with life cycle, ingredients, and attributes understood and optimized to improve overall environmental, economic, and social performance

.5	Innovation & Design Process (ID): credit 1 dependent on effectiveness of innovation being applied. (The acoustical performance of glass fibre insulation is effective in reducing noise transfer through building assemblies.)

1.6		DELIVERY, STORAGE AND HANDLING

.1	Deliver, store and handle blown glass fibre insulation bags in accordance with

manufacturer's printed instructions.

.2	Store materials in their original packaging in a dry interior location.

.3	Protect materials from the weather and store at a temperature and a relative humidity

recommended by the manufacturer.

1.7	WASTE MANAGEMENT AND DISPOSAL

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with                                                 Section [01 74 19 – Construction/Demolition Waste Management and Disposal].

.2	Remove from site and dispose of packaging materials at appropriate recycling facilities.

.3	Collect and separate for disposal [paper] [plastic] [polystyrene] [corrugated cardboard] packaging material [in appropriate on-site bins] for recycling in accordance with Waste Management Plan.

1.8	SITE ENVIRONMENTAL REQUIREMENTS

.1	Apply insulation only when the ambient climatic conditions (risk of rainfall, high humidity levels) and the temperature of surfaces to be insulated are within acceptable limits to prevent risk of condensation.

.2	Safety: Comply with requirements of Workplace Hazardous Materials Information System (WHMIS) regarding use, handling, storage, and disposal of insulation materials.

.3	Protection:

SPEC NOTE: Specify protection when blown glass fibre insulation is applied in an enclosed area.

.1	Ensure applicator's personnel wears protection equipment such as breathing masks (dust-proof type masks prescribed in Product Data Sheet), face and eye protection (safety goggles or eye glasses) and skin protection (gloves, long-sleeved shirts and pants).

.2	Provide temporary enclosures to prevent dust from contaminating air beyond application area.

.3	Protect adjacent surfaces and equipment from damage by fall-out, and dust.

Part 2	Products

2.1	BLOWN GLASS FIBRE INSULATION

.1	PROPINK Blown Glass Fibre Insulation.

.1	To CAN/ULC-S702, type 5, blowing wool, suitable for application by means of pneumatic equipment.

.2	Required RSI [and] [thickness to achieve sound transmittance class (STC)] as indicated on the Drawings.

.3	Thickness and coverage to meet required thermal resistance: refer to manufacturer’s Product Data Sheet, Application Chart.

.4	Surface burning characteristics to CAN/ULC-S102.2:

.1	flame spread: 0

.2	smoke developed: < 10

.5	Smoulder resistance: to ULC S-129.

.6	Non-combustible: to CAN4-S114.

.7	Product is manufactured without a bonding agent.

2.2		ENVIRONMENTAL CERTIFICATION

SPEC NOTE: Include the following paragraphs 2.2.1 and 2.2.2 to list the product’s environmental qualities that are certified by third-party independent agencies. Coordinate with information stated in this Section’s article “Quality Assurance” and the CaGBC LEED Canada –  Green Building Council Rating System.

.1	Certified post-industrial and post-consumer recycled materials content:

.1	73%, certified in accordance with the Scientific Certification Systems (SCS) Environmental Claims Certification:

.1	9% “post-industrial” (or pre-consumer) recycled materials content;

.2	64 % “post-consumer” recycled materials content;

.2	SCS Certification Certificate of Achievement: Glass Fibre Insulation Products manufactured by Owens Corning Canada (various forms and sizes). For up-to-date Certification information, go to http://www.scscertified.com.

.2	PROPINK Blown Glass Fibre Insulation is GREENGUARD certified, which helps promote a healthy indoor air quality environment:

.1	GREENGUARD Product Emission Standard for Children & Schools:

.1	Individual VOCs			< 1/100 TLV and < ½ CA chronic RE

.2	Formaldehyde			< 0.0135 ppm/13.5 ppb

.3	Total VOCs			< 0.22 mg/m³

.4	Total Aldehydes			< 0.043 ppm/43 ppb

.5	Total Phthalates		< 0.01 mg/m³

.6	Total Particles (< 10µm) 	< 0.02 mg/m³

.2	GREENGUARD Indoor Air Quality Certified certification: Owens Corning PROPINK Blown Glass Fibre blown insulation. For most recent certification information, go to www.greenguard.org.

.3	Selected product: Owens Corning PROPINK Blown Glass Fibre Insulation or approved equivalent.

SPEC NOTE: Include the following paragraph 2.2.3 to list the product’s environmental qualities as stated by Owens Corning Canada that may also contribute to the LEED Canada NC and CS Rating Council System credits for the recycled materials content that are certified by third-party independent agencies as indicated in this Section’s article “Quality Assurance”.

2.3	ACCESSORIES

.1	Attic (roof-space) baffles to prevent blown glass fibre insulation from blocking air circulation at the eaves:

.1	Rigid extruded polystyrene baffles;

.2	Product: «raft-R-mate®» attic vents by Owens Corning.

2	Containment membrane to retain the thermal [acoustical] blown glass fibre insulation installed from underneath a floor located above a non-heated space [and] [an interior acoustic floor].

.1	Polyethylene: to CAN/CGSB 51.34, 0.15 mm thick.

.2	Fibre mesh: woven polypropylene or fused polypropylene netting.

.3	Polyethylene patch: to CAN/CGSB 51.34, self-adhesive patch, 0.15 mm thick, sized to overlap opening by 50 mm, all sides.]

Part 3	Execution

3.1	WORKMANSHIP - GENERAL

SPEC NOTE: Applicators shall take note that if the density of the installed product is inferior to that prescribed for the application, the installation might seem adequate but its thermal resistance will be less than the required resistance. Heat loss and heating costs will consequently be higher. Since all blown insulation products are different and require different coverage, each installation is unique. Care must be taken to ensure that the number of bags actually installed in the roof-space is equal or greater than that required by the manufacturer’s Application Chart.

.1	Ensure polyethylene sheet vapour retarder installation is completed (refer to Section 07 26 00), that all joints have been sealed and that sheets have been solidly fastened [and are able to support insulation weight when required].

.2	Apply a thickness and a weight per unit area equivalent or greater than minimum values specified by the manufacturer’s Application Chart (refer to Manufacturer’s Product Data, TABLE 3 –  Application Chart) to obtain the required insulation value.

.3	Post manufacturer’s Certificate of Coverage, duly signed by the applicator, near the work area.

3.2	INSTALLATION

SPEC NOTE: Specify RSI value only when not shown on drawings.

.1	Install containment membrane supporting blown insulation installed from below; caulk and seal joints and fasten solidly to support insulation weight.

.2	Cut holes in polyethylene sheet where required, for insertion of pneumatic insulation delivery hose; patch holes in polyethylene containment fabric with self adhesive polyethylene patch in accordance with manufacturer's written instructions.

.3	Pneumatically place blown insulation [above [ceiling] [floor] between joists] to provide minimum thermal resistance value RSI [ ( ___ ) (as indicated) (and) (a sound transmission class (STC) of ( ___ )].

.4	Ensure that all voids in [ceilings] [floors] [roof-spaces] exposed to outside air [separating rooms with an acoustic barrier], are insulated with blown insulation having the thickness and density required.

SPEC NOTE: Ensure detail and location of baffles are shown on the Drawings.

.5	Install rigid polystyrene baffles and ensure no obstacle impedes free air circulation to the soffit vents.

SPEC NOTE: Ensure clearances meet local building safety regulations and code requirements. For electrical fixtures housed in a CSA-approved insulated enclosure, prescribed clearances are not required unless indicated otherwise by the fixture's manufacturer. Edit the following paragraph to suit.

[.6	Keep insulation minimum 75 mm from heat-emitting devices, such as recessed light fixtures (which are not encased in thermally insulated boxes), and minimum 50 mm from sidewalls of CAN/ULC-S604 chimneys and CSA-B149.1 and CSA-B149.2 type B and L vents.]

3.3	CLEANING

.1	Remove insulation material spilled during installation and leave work area ready for application of interior finish.

OWENS CORNING INSULATING SYSTEMS CANADA LP

Head Office and Sales

3450 McNicoll Avenue

Scarborough, Ontario

M1V 1Z5

Tel:  1 800 504-8294

Fax: 1 800 504-9698

email: salvatore.ciarlo@owenscorning.com

MasterFormat is a trademark of the Construction Specifications Institute, Inc. LEED is a registered trademark of U.S. Green Building Council. GREENGUARD Indoor Air Quality Certified is Reg. U.S. Pat & TM Office. The colour PINK is a registered trademark of Owens Corning. © 2006-2013 Owens Corning.  All Rights Reserved.

Publication # 200026D

Printed in Canada November 2013