OWENS CORNING INSULATING SYSTEMS CANADA LP

RIGID BOARD INSULATION FOR ROOFING

07 22 16.13

INTRODUCTION - TECHNICAL SPECIFICATIONS

This specification Section is used to prescribe RIGID BOARD INSULATION used in waterproofing systems for roofs, rooftop terraces, garden roofs and other types of roofing in which the waterproofing membrane is installed underneath the insulation boards, protecting it from abrupt temperature changes, freeze-thaw, U.V. rays and other risks of deterioration.

This thermal insulation is attained with extruded polystyrene boards manufactured by Owens Corning Insulating Systems Canada LP (Owens Corning Canada) in its facilities in Rockford, Illinois, Tallmadge, Ohio and Gresham, Oregon in the United States and in its plant in Valleyfield, Québec in Canada and which is distributed under the following brand names:

FOAMULAR® 350 rigid extruded polystyrene insulation.

FOAMULAR® 350 CVI rigid extruded polystyrene insulation.

Filing, organization and formatting

This Section has been classified and numbered in accordance with the new MasterFormatTM - classification system for the construction industry. Its number and title are :

07 22 16.13 - RIGID INSULATION BOARDS FOR ROOFING

This Section is also organized into three Parts and formatted like all other National Master Specification (NMS) Sections which are used by the great majority of specifications writers in Canada.

Recommendations for the use of certain tools

The SPEC NOTES printed in italic are used as a checklist or guide to the specifications writer in order to help him make the right decisions. The SPEC NOTES must be suppressed before printing the document.

The brackets [  ], with or without text help the writer choose materials, products, references and other possibilities at his disposal. The brackets must be suppressed, including all choices not retained, before printing the document.

Professional responsibility of the specifications writer

Owens Corning Canada LP. publishes this document for information only and cannot in any way assume the role or the professional responsibility of the architect who must sign and seal his Drawings and Specifications.

This document, although written by experienced professionals must not be copied integrally. It must be adapted or even modified to suit the Project with which our technical representatives and our Engineering Services will be happy and proud to collaborate.

NOTE TO THE READER:  This Section 07 22 16.13 - RIGID BOARD INSULATION FOR ROOFING is numbered to meet the recommendations of the MasterFormatTM  classification system.  This classification is also more precise than the National Master Specification (NMS) system (07 21 13 - Board Insulation (formerly 07212 - Board Insulation).

SPEC NOTE :  This Section specifies different materials and insulation work required for roofs, rooftop terraces, garden roofs and other types of protected membrane roofing, using extruded polystyrene insulation boards.  This section specifies FOAMULAR® 350 and FOAMULAR® 350 CVI as well as various accessories required for their installation and forming an integral part of the protected membrane roofing system, rooftop terrace, garden roofs, etc.

The articles and paragraphs describing the materials and installation methods must be integrated whole or in part in the appropriate Project specification sections that concern protected membrane systems.

SPEC NOTE : For any additional information concerning these products, contact your regional technical representative or consult Owen Corning’s web site at the following address: http://www.owenscorning.ca.

SPEC NOTE ENVIRONMENT:  This Section specifies environmentally responsible material choices, including recycling and reuse options, and generally available disposal options.  Increased RSI (R)-value insulation levels will provide improved energy efficiency. Improved energy efficiency reduces the use of nonrenewable energy sources and provides a lessened contribution to global warming.

Part 1	General

1.1	QUALITY ASSURANCE

.1	Identification: Each insulation board must be clearly labelled with the information listed in manufacturer's applicable Product Data Sheet.

.2	Ecological certification by an independent agency:

SPEC NOTE: The GREENGUARD Environmental Institute™ (GEI) is a third-party, industry-independent, non-profit organization that certifies various characteristics of products submitted by manufacturers. The GEI oversees the GREENGUARD Certification Program to establish, among others, the low-emissivity of toxic chemical products and volatile particles from mineral fibre glass acoustic insulation installed inside a building. Product performances are measured following standardized procedures, notably test methods, allowable emissions levels, product sample collection and handling, testing type and frequency, and program application processes and acceptance.

.1	Submit the "Greenguard Standard for Low Emitting Products Certified" certificate issued by the 	GREENGUARD Environmental Institute (GEI) certifying that one or the other prescribed board 	insulation meets low emission requirements of VOC contained in the tested product; internet site : 	www.greenguard.org

SPEC NOTE: SCS (Scientific Certification Systems) is an independent third-party certification agency; originally, its role was to test for pesticide residues in fresh produce. The Environmental Claims Certification program was initiated by the SCS; this program’s objective is to measure the recycled materials content in manufactured products. When a submitted product meets the various procedures imposed by the program, the SCS issues a «Certificate of Achievement» for a limited duration. This certificate permits designers to confidently choose one or the other rigid extruded polystyrene insulation boards manufactured by Owens Corning to add to accumulative credits in order to obtain the desired LEED certification.

.2	Submit the certificate issued by the Scientific Certification Systems (SCS) certifying that the 	prescribed blanket [and board] acoustic insulation meets the recycled materials content 	requirements in the tested product; internet site: www.scscertified.com.

.3	Certificates shall include the following details: certificate number, duration of the certification and 	all restrictions issued by the certification agency for the product[s], as applicable.

SPEC NOTE: For quite a few years now the Canada Green Building Council (CaGBC) has promoted the application of the LEED - Green Building Rating System (LEED® CANADA NC and CS). LEED is the acronym of Leadership in Energy and Environmental Design.

SPEC NOTE: As a design guideline and a third-party certification tool, LEED aims to improve occupant comfort, environmental performance and economical efficiency of buildings by the use of proven and innovative procedures, standards and technologies. It furnishes a definition generally recognized in the industry of what constitutes a «green building». The LEED - Green Building Rating System comprises a set of explicit performance criteria organized into The LEED – Green Building Rating System comprises a set of explicit performance criteria organized into seven (7) principal categories: Sustainable Sites, Water Efficiency, Energy and Atmosphere, Materials and Resources, Indoor Environmental Quality. Innovation in Design,  Regional Priority. This seventh category includes Durable Building Credit (formerly MR Credit 8) and a Regional Priority Credit which addresses geographically-specific environmental properties. For each performance criteria, the LEED Rating System states the fundamental objective and the necessary documentation to be submitted to meet each compulsory condition and to obtain each voluntary «credit». Projects are awarded one or more points for their certification by meeting or exceeding each credit’s technical requirements. All compulsory conditions must be met before the project may be admissible to the certification. The points are then accumulated into a final total corresponding to one of the possible LEED certification levels: CERTIFIED, SILVER, GOLD or PLATINUM.

SPEC NOTE: Indoor Air Quality (IAQ) LEED credits pertaining to low VOC emitting materials are awarded to adhesives, waterproofing mastics, composite wood products and carpeting systems but are not awarded to thermal insulation.

.3	Contribution of the insulation to the LEED certification of the building Project:

.1	Categories and performance criteria to obtain credits, as established by the Green Building Rating System LEED® CANADA NC and CS.

.1	Energy and Atmosphere (EA) : credit 1 for the optimization of new or existing building energy performance;

.2	Materials and Resources (MR) : credit 4 for post-industrial and post-consumer recycled materials content;

.3	Materials and Resources (MR) : credit 5 for locally or regionally produced materials;

Part 2	Products

2.1	RIGID EXTRUDED POLYSTYRENE INSULATION BOARDS

SPEC NOTE ENVIRONMENT:  Thermal insulation provides reduced environmental impacts through energy savings.  Further reduced environmental impacts can be achieved through the specification of materials that contain a high portion of recycled content. All extruded polystyrene insulation boards manufactured by Owens Corning contain no CFC nor HCFC, meeting all requirements of the Montreal Protocol.  Their ozone depletion potential is ZERO and they have 70% lower global warming potential compared to previous formula.  All boards contain 20% recycled material content.

SPEC NOTE: use paragraph 2.1.1 to specify FOAMULAR 350 insulation boards with smooth faces.

.1	Extruded PINK™ rigid polystyrene board insulation to CAN/ULC-S701, Type 4:

.1	Thermal resistance : RSI 0.88 / 25 mm (R5.0/in.);

.2	Compressive strength : 240 kPa (35 psi);

.3	Water absorption (max) : 0.7%;

.4	Water vapour permeance : 50ng / Pa.s.m2;

.5	Recycled materials content : 20% minimum;

.6	Greenguard Certified;

.7	CFC and HCFC free;

.8	Dimensions: 610 mm (2 ft.) x 1220 mm (4ft.) x [51] [76] [102] mm; [2] [3] [4] in.

[thickness as indicated],

.9	Edges : ship lapped;

.10	Selected product:  FOAMULAR® 350 manufactured by Owens Corning.

SPEC NOTE: use paragraph 2.1.2 to specify Foamular® 350 CVI thermal insulation boards with underside drainage channels to ensure optimum water drainage between the membrane and the insulation.  For additional information, refer to article 3 PRODUCT DESCRIPTION of product data sheet D.S..07 22 16.13.OCC FOAMULAR® 350 and FOAMULAR® 350 CVI rigid extruded polystyrene insulation.

.2	Extruded PINK™ rigid polystyrene board insulation to CAN/ULC-S701, Type 4:

.1	Thermal resistance : RSI 0.88 / 25 mm (R5.0/in);

.2	Compressive strength : 240 kPa (35 psi);

.3	Water absorption (max) : 0.7%;

.4	Water vapour permeance : 50ng / Pa.s.m2;

.5	Recycled materials content : 20% minimum;

.6	Greenguard Certified;

.7	CFC and HCFC free;

.8	Dimensions: 610 mm x 1220 mm x [51]  [76] [102] mm;[2] [3] [4] in.

[thickness as indicated],

.9	Profiles :

.1	Edges : ship lapped;

.2	Drainage channels on one face :

.1	One (1) lengthwise and two widthwise : 13 mm wide x 13 mm 					maximum depth; ½ in. x ½ in..

.2	One (1) on entire perimeter : 6.5 mm wide x 13 mm maximum depth; 				¼ in. x ½ in.

.10	Selected product:  FOAMULAR® 350 CVI manufactured by Owens Corning.

2.2		ADHESIVES

SPEC NOTE ENVIRONMENT:  OWENS CORNING does not recommend solvent based adhesives which react with polystyrene foam.

SPEC NOTE:  contact your regional technical representative to obtain a list of adhesive products and manufacturers.  Adhesives should be selected according to installation method (type), application temperature (class) and their chemical compatibility with polystyrene boards, substrates as well as related materials and accessories (i.e. air barrier membranes, flashings, waterproofing membranes, etc.).

.1	Adhesive for extruded polystyrene, to CGSB 71-GP-24M.

.1	Type:  [___;

.2	Class:  [___;

.3	COV emission:  [___];

.4	Selected product:  [____________]

2.3		ACCESSORIES

SPEC NOTE:  Use of one or the other of the following accessories may be required by one or the other Project roofing systems or by the insulation boards manufactuer..

.1	Polyethylene separation sheet placed between the a hot rubberized asphalt membrane and the insulation 	boards : Polyethylene 5 mils (0.12 mm) thickness.

.2	Filter fabric : 100% polypropylene sheet, U.V. resistant, weaved, black colour, designed for 	installation in a protected membrane  roofing system, between the insulation and the ballast.

.3	Ballast :

.1	Natural stone, type, screen and gauge to recommendations of the AMCQ and CRCA.

.2	Prefabricated concrete pavers on pedestals, as recommended by the insulation and concrete 			pavers' manufacturers.

Part 3	Execution

3.1	WORKMANSHIP - GENERAL

.1	Compliance: comply with manufacturer's requirements, recommendations and written

specifications, including product technical bulletins, product catalogue installation instructions,

product package installation instructions, and product data sheets.

.2	Do work when adjacent, below or penetrating work (ex. columns, piping, various fixtures and 			others)  of other trades have been completed so as not to interfere with work of this Section.

.3	Ensure insulation boards are compatible with the asphalts or adhesives employed to glue them 			together (multiple thickness application) or on vertical surfaces (framing, curbs, parapets, etc.) 			covered with a membrane or any other material.

3.2		SUBSTRATE EXAMINATION

### Examine substrates and immediately inform Architect in writing of defects.

### Prior to beginning of Work ensure:

#### Substrates are firm, straight, smooth, dry, free of snow, ice or frost, contamination and swept clean of dust and debris.

#### Curbs have been built.

#### Drains have been installed at proper elevations relative to finished surfaces.

#### Sleeves, vents, pipes and other items passing through substrates receiving work of this Section are properly and rigidly installed.

#### Plywood and lumber nailer plates have been installed to walls and parapets as indicated.

3.3		WORKMANSHIP

SPEC NOTE:  Separation sheets are necessary with hot applied rubberized asphalt.

[.1	Separation sheet applied to the membrane :

.1	When required in the specifications, place separation sheet in adhesive or asphalt 				while still hot enough to assure good bond but so hot as to damage sheet.

### .2	Begin application at low end, lapping sheets 100 mm (4 in.).

### .3	Cut sheet around drains, vents and other penetrations; carry sheet up vertical 				faces of curbs and cover with a flashing.

### .4	Carry separation sheet up vertical faces and adhere  against vertical faces and on 			top of the roof curbs and parapets while asphalt is still warm.]

### .2	Apply insulation loose laid immediately after application of separation sheet.  Place boards 	parallel to roof edges at perimeter.

SPEC NOTE:   Shiplapped edges of the insulation boards make for a trustworthy and durable installation when installed in accordance with Owens Corning requirements.  Job conditions and energy conservation may require a second thickness of insulation boards.

[.3	Place second thickness of insulation boards so that joints are offset from those in first 				thickness.  Where required, to ensure stability of the insulation boards before ballast 				installation, apply random spots of adhesive to hold them in place.]

.4	Butt joints tightly without forcing them in parallel rows with offset end joints.  Cut and fit 				boards around openings and edges.

.5	Feather boards around roof drains, up to 600 mm (2 ft.)  from the drain, to ensure efficient 			drainage.

.6	Do not install more insulation boards that will be possible to ballast with stone or pavers in 			the same day.

.7	Keep insulation minimum 75 mm (3 in.)  from heat emitting devices such as recessed light 			fixtures, and minimum 50 mm (2 in.)  from sidewalls of CAN4-S604 type A chimneys and 				CAN/CGA-B149.1 and CAN/CGA-B149.2 type B vents.

## 3.4		FILTER FABRIC

### .1	Apply continuous layer of filter fabric over installed insulation to protect form ultra violet radiation.  Lap 	joints 300 mm (12 in.) minimum.

### .2	Carry fabric up vertical surfaces at least 100 mm (4 in.) high and fasten in place onto substrate using a 	compatible adhesive or support it temporarily prior to covering it with a cladding (metal flashing, cladding, 	etc.)

## 3.5		BALLAST

### .1	Apply stone ballast, as soon as possible after placement of fabric, at minimum rate of 73 kg/m2 (15 lbs/ft2)

### .2	Spread stone ballast to an even thickness over entire area. Extend ballast over base of metal flashings by 	100 mm (4 in.).

### .3	Spread additional stone ballast around perimeter for width of 1200 mm (4 ft.) to increase ballast  weight to  98 kg/m2 (20 lbs/ ft2)and more depending on wind uplift.

### .4	Install pavers over fabric on leveling pads accurately aligned and leveled.]

3.7		CLEANING

.1	Upon completion of the installation, remove surplus materials, rubbish, tools and equipment

barriers.

OWENS CORNING INSULATING SYSTEMS CANADA LP

Head Office and Sales

3450 McNicoll Avenue

Scarborough, Ontario

M1V 1Z5

Tel:  1 800 504-8294

Fax: 1 800 504-9698

email: salvatore.ciarlo@owenscorning.com

MasterFormat is a trademark of the Construction Specifications Institute, Inc. LEED is a registered trademark of U.S. Green Building Council. GREENGUARD Indoor Air Quality Certified is Reg. U.S. Pat & TM Office. The colour PINK is a registered trademark of Owens Corning. © 2013. Owens Corning. All Rights Reserved.

Publication # 300526B

Printed in Canada November 2013