# OWENS CORNING INSULATING

# SYSTEMS CANADA LP

FOAM BOARD INSULATION

07 21 13.13

INTRODUCTION TECHNICAL SPECIFICATIONS

This specification Section is used to describe FOAM BOARD INSULATION for buildings and civil engineering works using extruded polystyrene boards fabricated by Owens Corning Insulating Systems Canada LP (Owens Corning Canada) in Rockford IL, USA; Tallmadge OH, USA; Gresham OR, USA; Valleyfield PQ, Canada and distributed under the following brand names:

FOAMULAR® C-200 & FOAMULAR® CodeBord® Extruded Polystyrene Rigid Insulation

FOAMULAR® C-200/FOAMULAR® Cel-Lok® System Extruded Polystyrene Rigid Insulation

FOAMULAR® INSULPINK® Extruded Polystyrene Rigid Insulation

FOAMULAR® C-300 Extruded Polystyrene Rigid Insulation

FOAMULAR® 400/600/1000 High Density Extruded Polystyrene Rigid Insulation

Filing, Organization and Formatting

This Section has been classified and numbered in accordance with the new MasterFormatTM  classification system for the construction industry. Its number and title are:

07 21 13.13 – FOAM BOARD INSULATION

This Section is also organized into three Parts and formatted like all other National Master Specification (NMS) Sections which are used by the majority of specifications writers in Canada.

Recommendations for the Use of Certain Tools

The SPEC NOTES printed in italic are used as a checklist or guide to the specifications writer in order to help him/her make the right decisions. The SPEC NOTES must be suppressed before printing the document.

The brackets [  ], with or without text, help the writer choose materials, products, references and other possibilities at his disposal. The brackets must be suppressed, including all choices not retained, before printing the document.

Professional Responsibility of the Specifications Writer

Owens Corning Canada Inc. publishes this document for information only and cannot in any way assume the role or the professional responsibility of the architect who must sign and seal his Drawings and Specifications.

This document, although written by experienced professionals, must not be copied in whole. It must be adapted or even modified to suit the particular needs of your Project. Our regional technical support representatives and our Engineering Services will be pleased and honoured to assist you with this.

NOTE TO THE READER: This Section 07 21 13.13 – FOAM BOARD INSULATION is numbered to meet the recommendations of the MasterFormat  classification system. This classification is also more specific than the National Master Specification (NMS) system (07 21 13 – Board Insulation (formerly 07212 – Board Insulation).

SPEC NOTE DESCRIPTION: This Section specifies Foam Board Insulation manufactured using polystyrene resin extruded into rigid boards as well as related accessories and installation methods. These boards are used for buildings and civil engineering works.

For any additional information concerning these products, contact your regional technical support representative or consult Owen Corning Canada’s web site at the following address: www.owenscorning.ca.

SPEC NOTE ENVIRONMENT: This Section specifies environmentally responsible material choices, including recycling and reuse options, and generally available disposal options. Increased RSI (R)-value insulation levels will provide improved energy efficiency. Improved energy efficiency reduces the use of non renewable energy sources and provides a lessened contribution to global warming.

Part 1	General

1.1	SECTION INCLUDES

SPEC NOTE: Select one or more locations to be insulated; suppress or add as required.

.1	Thermal insulation using extruded polystyrene board insulation at the following locations:

.1	Below grade, on interior face of foundation walls [and] [on the exterior face of foundation walls not submitted to special loading].

.2	Above grade, on exterior face of concrete masonry unit [concrete] [gypsum board] cavity wall back-ups with masonry [___] veneer.

.3	Inside buildings, on interior face of foundation walls.

.4	Under slabs on grade.

.5	Under slabs on grade of skating rinks [refrigerators-freezers].

.6	Garden [pedestrian] terraces, [parking areas] situated over heated spaces.

.7	[Landing strips], [railroads], [highways], [bridge abutments], [sidewalks], [retaining walls], [landscaping], [___________] [Civil Engineering Works] [and] [large construction projects].

.8	Permafrost protection Works.

.2	Accessories required to apply and maintain insulation in place.

1.2	RELATED SECTIONS

SPEC NOTE: Select the appropriate Section or Sections directly pertaining to the following associated items.

.1	Section 03 30 00 – Cast in Place Concrete

.2	Section 04 05 00 – Masonry Procedures [: connectors][: gaskets or flashings]

.3	Section 07 11 13 – Bituminous Damp-proofing

.4	Section 07 12 00 – Liquid Applied Bituminous Rubber [Modified Bituminous Sheet]  Waterproofing

.5	Section 07 26 00 – [Underslab] Vapour Retarder

.6	Section 07 27 10 – Air Barriers

.7	Section 09 21 16 – Gypsum Board

.8	Section 31 23 00 – Excavation and Backfilling

.9	Section 32 46 21 – Foundation and Underslab Drainage

.10	Section 31 00 00 – Earthwork

.11	Section 32 00 00 – Landscaping

.12	Section 33 00 00 – Public Utilities

.13	Section 34 00 00 – Roadway [Airport] [Railway] Work

1.3	REFERENCES

SPEC NOTE: Edit list to suit standards specified in project specification.

.1	Underwriters' Laboratories of Canada (ULC)

.1	CAN/ULC-S701, Standard for Thermal Insulation, Polystyrene, Boards and Pipe Covering

.2	CAN/ULC-S102.2, Standard Method of Test for Surface Burning Characteristics of Flooring, Floor Covering and Miscellaneous Materials and Assemblies

.3	CAN/ULC-S604, Type A Chimneys

.2	American Society for Testing and Materials International, (ASTM)

.1	ASTM C177, Standard Test Method for Steady-State Heat Flux Measurements and Thermal Transmission Properties by Means of the Guarded-Hot-Plate Apparatus

.2	ASTM C203, Standard Test Method for Breaking Load and Flexural Properties of Block-Type Thermal Insulation

.3	ASTM C518, Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus

.4	ASTM D696, Standard Test Method for Coefficient of Linear Thermal Expansion of Plastics Between -30°C and 30°C With a Vitreous Silica Dilatometer

.5	ASTM D1621, Standard Test Method for Compressive Properties of Rigid Cellular Plastics

.6	ASTM D2126, Standard Test Method for Response of Rigid Cellular Plastics to Thermal and Humid Aging

.7	ASTM D2842, Standard Test Method for Water Absorption of Rigid Cellular Plastics

.8	ASTM E96, Test Methods for Water Vapor Transmission of Materials

.3	Canadian Gas Association (CGAl)

.1	CAN/CSA-B149.1HB, Natural Gas and Propane Installation Code Handbook

.2	CAN/CSA-B149.2, Propane Storage and Handling Code

.4	Canadian General Standards Board (CGSB)

.1	CGSB 71-GP-24M, Adhesive, Flexible, for Bonding Cellular Polystyrene Insulation

.5	Health Canada/Workplace Hazardous Materials Information System (WHMIS)

.1	Visit www.owenscorning.ca for a current copy of the Material Safety Data Sheet (MSDS).

.6	Canadian Construction Materials Centre (CCMC) Product Evaluation, published by the Institute for Research in Construction (IRC) of the National Research Centre Canada (CNRC):

[.1	FOAMULAR® C-200: product listing number CCMC 13431-L.]

[.2	FOAMULAR® CODEBORD®: product listing number CCMC 13431-L.]

[.3	FOAMULAR® C-200/ FOAMULAR® Cel-Lok®: product listing number CCMC 13431-L.]

[.4	FOAMULAR® INSULPINK®: product listing number CCMC 13431-L.]

[.5	FOAMULAR® C-300: CCMC product listing number 13430-L.]

1.4	SUBMITTALS

.1	Submit manufacturer's product data in accordance with Section [01 33 00 – Submittal Procedures] [01 47 15 – Sustainable Requirements: Construction].

[.2	Submit proof of manufacturer's CCMC Listing and Listing Number to (Engineer) (Consultant)].

.3	Submit environmental certificates issued by independent agencies and the evaluation of the products' contribution towards obtaining LEED® Canada credits mentioned in article QUALITY ASSURANCE.

.4	Submit WHMIS MSDS – Material Safety Data Sheets in accordance with Section [02 61 33 – Hazardous Materials]. Indicate VOC content.

.5	Submit samples in accordance with Section [01 33 00 - Submittal Procedures] [01 47 15 - Sustainable Requirements: Construction].

.1	One [two] sample[s] of each type of polystyrene board, 600 x 600 mm x indicated thickness, including the following required information printed on one face:

.1	Reference standard product meets

.2	Board Type, name of manufacturer or brand name

.3	CCMC Product Listing Number

.4	The following cautionary statement: Combustible product. Keep away from heat, sparks and flame. This product will ignite if exposed to an ignition source of sufficient heat and intensity. Protection or thermal barrier is required in accordance with applicable building codes.

[.2	One (two) sample(s) of each type of specified accessory and fastener.]

1.5	QUALITY ASSURANCE

.1	Identification: Each insulation board must be clearly labelled with the information listed in the manufacturer's applicable Product Data Sheet.

.2	Environmental certification by an independent agency:

SPEC NOTE: The GREENGUARD Environmental Institute (GEI) is a third-party, industry-independent, non-profit organization that certifies various characteristics of products submitted by manufacturers. The GEI oversees the GREENGUARD Certification Program to establish, among others, the low-emissivity of toxic chemical products and volatile particles from extruded polystyrene rigid thermal insulation board installed inside a building. Product performances are measured following standardized procedures, test methods, allowable emissions levels, product sample collection and handling, testing type and frequency, and program application processes and acceptance.

.1	Submit the "GREENGUARD Standard for Low Emitting Products Certified" certificate issued by the GREENGUARD Environmental Institute (GEI) certifying that the described polystyrene foam board insulation meets low VOC emission requirements contained in the tested product; web site : www.greenguard.org.

SPEC NOTE: SCS (Scientific Certification Systems) is an independent third-party certification agency; originally, its role was to test for pesticide residues in fresh produce. The Environmental Claims Certification program was initiated by the SCS; this program’s objective is to measure the recycled materials content in manufactured products. When a submitted product meets the various procedures imposed by the program, the SCS issues a “Certificate of Achievement” for a limited duration. This certificate permits designers to confidently choose an extruded polystyrene rigid thermal insulation board manufactured by Owens Corning, to add to accumulative credits in order to obtain the desired LEED Canada certification.

.2	Submit the certificate issued by the Scientific Certification Systems (SCS) certifying that the described polystyrene foam board insulation meets the recycled materials content requirements in the tested product; web site : www.scscertifed.com.

.3	The certificates shall include the following details: certificate number, and all restrictions issued by the certification agency for the product[s], as applicable.

SPEC NOTE: For a few years now the Canada Green Building Council (CaGBC) has promoted the application of the LEED – Green Building Rating System (LEED Canada NC and CS) in Canada. LEED is the acronym of Leadership in Energy and Environmental Design.

SPEC NOTE: As a design guideline and a third-party certification tool, LEED aims to improve occupant comfort, environmental performance and economical efficiency of buildings by the use of proven and innovative procedures, standards and technologies. It furnishes a definition generally recognized in the industry of what constitutes a “green building”. The LEED – Green Building Rating System comprises a set of explicit performance criteria organized into seven (7) principal categories: Sustainable Sites, Water Efficiency, Energy and Atmosphere, Materials and Resources, Indoor Environmental Quality. Innovation in Design,  Regional Priority. This seventh category includes Durable Building Credit (formerly MR Credit 8) and a Regional Priority Credit which addresses geographically-specific environmental properties.

For each performance criteria, the LEED Rating System states the fundamental objective and the necessary documentation to be submitted to meet each compulsory condition and to obtain each voluntary “credit”. Projects are awarded one or more points for their certification by meeting or exceeding each credit’s technical requirements. All compulsory conditions must be met before the project may be admissible to the certification. The points are then accumulated into a final total corresponding to one of the possible LEED certification levels: CERTIFIED, SILVER, GOLD or PLATINUM.

SPEC NOTE: Indoor Air Quality (IAQ) LEED credits pertaining to low VOC emitting materials are awarded to adhesives, waterproofing mastics, composite wood products and carpeting systems but are not applicable to thermal insulation.

.3	Contribution of Owens Corning’s extruded polystyrene foam board insulations to the LEED® certification of the building Project:

.1	Categories and performance criteria to obtain credits, as established by the Canadian Green Building Council Rating System LEED® CANADA NC and CS:

.1	Energy and Atmosphere (EA): credit 1 for the optimization of new or existing building energy performance.

.2	Materials and Resources (MR): credit 4 for post-industrial and post-consumer recycled materials content.

.3	Materials and Resources (MR): credit 5 for locally or regionally produced materials.

1.6		DELIVERY, STORAGE AND HANDLING

.1	Deliver, store and handle polystyrene foam insulation boards in accordance with manufacturer's printed instructions.

1.7	WASTE MANAGEMENT AND DISPOSAL

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section [01 74 19 – Construction/Demolition Waste Management and Disposal].

.2	Remove from site and dispose of packaging materials at appropriate recycling facilities.

.3	Collect and separate for disposal [paper] [plastic] [polystyrene] [corrugated cardboard] packaging material [in appropriate on-site bins] for recycling in accordance with Waste Management Plan.

1.8	SITE ENVIRONMENTAL REQUIREMENTS

.1	Safety: Comply with requirements of Workplace Hazardous Materials Information System (WHMIS) regarding use, handling, storage, and disposal of insulation materials.

Part 2	Products

  - INSULATION

SPEC NOTE ENVIRONMENT: Thermal insulation provides reduced environmental impacts through energy savings. Further reduced environmental impacts can be achieved through the specification of materials that contain a high portion of recycled content. In addition, plastic foam insulation must demonstrate a low impact on stratospheric ozone and global warming through the use of appropriate blowing agents. Blowing agents used to fabricate FOAMULAR® extruded polystyrene insulation meet the Montreal Protocol requirements. Their ozone depletion potential is ZERO and they have 70% lower global warming potential.  All boards contain 20% recycled material content

SPEC NOTE: Use paragraph 2.1.1 to specify below-grade thermal insulation applied to the inner face of concrete and masonry unit foundation walls and/or on the exterior side of masonry or gypsum board cavity wall back-ups with a masonry veneer; for additional information, refer to Product Data Sheet 07 12 13.13.OCC FOAMULAR® C-200 & FOAMULAR® CODEBORD® Extruded Polystyrene Rigid Insulation .

.1	PINK extruded polystyrene rigid board insulation to CAN/ULC-S701, Type 3:

.1	RSI 0.88 / 25 mm, 140 kPa compressive strength (20 psi)

.2	Water vapour permeance (max.): 52ng / Pa.s.m2

.3	Dimensions: 610 mm [1220] mm x 2438 [2743] mm x [25] [38] [51] [64] [76] [102] mm [thickness as indicated], ship lapped [square] edges

.4	Selected product: FOAMULAR® C-200 [FOAMULAR® CODEBORD®] manufactured by Owens Corning Canada

SPEC NOTE: Use paragraph 2.1.2 to specify below-grade thermal insulation applied to the outer face of concrete and masonry unit foundation walls and for under residential concrete slabs where applied loads do not exceed the products capacity, for additional information, refer to Product Data Sheet 07 12 13.13.OCC FOAMULAR® C-300 Extruded Polystyrene Rigid Insulation.

.2	PINK extruded polystyrene rigid board insulation to CAN/ULC-S701, Type 4:

.1	RSI 0.88 / 25 mm, 210 kPa compressive strength (30 psi)

.2	Water vapour permeance (max.): 50ng / Pa.s.m2

.3	Dimensions: 610 mm x 2438 mm x [25] [38] [51][64][76][89][102] mm [thickness as indicated], ship lapped [square] edges

.4	Selected product: FOAMULAR® C-300 manufactured by Owens Corning Canada

SPEC NOTE: Use paragraph 2.1.3 to specify thermal insulation boards used in civil engineering work projects and large construction projects (i.e. landing strips, railways, highways, roads, sidewalks, retaining walls, landscaping, permafrost protection and others) and/or to insulate parts of buildings (i.e. foundation walls, pedestrian and garden terraces and others) that require high density insulation boards subjected to live and dead loads greater than those that FOAMULAR® C-200/ FOAMULAR® CODEBORD® and FOAMULAR® C- 300 can support; for additional information, refer to Product Data Sheet 07 21 13.13.OCC FOAMULAR® 400/600/1000 High Density Extruded Polystyrene Rigid Insulation.

.3	PINK extruded polystyrene rigid board insulation, to CAN/ULC-S701, Type 4:

.1	RSI 0.88 / 25 mm, [275] [415] [690] kPa compressive strength ([40][60][100] psi)

.2	Dimensions: 610 mm x 2438 mm x [25] [38] [51] [76] [102] mm [thickness as indicated], square edges

.3	Selected product: FOAMULAR® [400] [600] [1000] manufactured by Owens Corning Canada

SPEC NOTE: Use paragraph 2.1.4 to specify thermal insulation boards used inside buildings and applied to concrete or masonry foundation walls using a system of scored polystyrene boards into which U shaped metal furring is inserted; furring serves to fasten boards to walls as well as cross furring to fasten approved finishes prescribed elsewhere in this Specification (i.e. gypsum board); for additional information, refer to Product Data Sheet 07 21 13.13.OCC FOAMULAR® Cel-Lok® System.

.4	PINK extruded polystyrene scored rigid board insulation to CAN/ULC-S701, Type 3:

.1	RSI 0.88 / 25 mm, 140 kPa compressive strength (20 psi)

.2	Water vapour permeance (max.): 52ng / Pa.s.m2

.3	Dimensions: 610 mm 2438 mm x [25] [38] [51] [64] [76] [102] mm [thickness as indicated], ship lapped edges

.4	0.46 mm [28 Gauge] metal furring channels: 9.5 mm x 38 mm x 2413 mm;

.5	Selected product: FOAMULAR® C-200/FOAMULAR® Cel-Lok® System/FOAMULAR® INSULPINK® manufactured by Owens Corning Canada

SPEC NOTE: Use paragraph 2.1.5 to specify foam sealant used to fill joints around insulated walls using the FOAMULAR® Cel-Lok® System and to fill perforations in board insulation (i.e. around electrical service boxes, windows); for additional information, refer to Product Data Sheet 07 21 13.13.OCC FOAMULAR® Cel-Lok® System.

.5	One component polyurethane foam sealant to CAN/ULC-S710.1 (material) and S710.2 (installation); compatible with extruded polystyrene rigid insulation board.

2.2		ADHESIVES

SPEC NOTE ENVIRONMENT: Owens Corning does not recommend solvent based adhesives which react with polystyrene foam. Low VOC adhesives are environmentally safe.

SPEC NOTE: Contact your regional technical support representative to obtain a list of compatible adhesive products and manufacturers. Adhesives should be selected according to installation method (type), application temperature (class) and their chemical compatibility with extruded polystyrene insulation boards, substrates as well as related materials and accessories (i.e. air barrier membranes, flashings, waterproofing membranes, etc.).

.1	Adhesive for polystyrene, to CGSB 71-GP-24M

.1	Type: [___]

.2	Class: [___]

.3	VOC emission: [___]

.4	Selected product: [____________].

2.3		FASTENERS

SPEC NOTE: Use pilot hole self-tapping screws to fasten insulation boards to concrete or concrete masonry unit foundation walls and to steel studs. Use nails to fasten boards to wood studs.

.1	Screws: self-tapping type for steel [masonry anchors for concrete] with minimum 25 mm diameter plastic or metal washers, zinc coated by electrolytic process, #8-18, of sufficient length to penetrate substrate minimum 25 mm. [1 in.]

.2	Nails: spiral nails with minimum 25 mm diameter plastic or metal washers, of sufficient length to penetrate substrate minimum 25 mm. [1 in.]

SPEC NOTE: Use paragraph 2.3.3 for FOAMULAR® Cel-Lok® fastening system.

.3	FOAMULAR® Cel-Lok® fastening system; metal furring, 0.46 mm thick (28 gauge) x 38 mm (1.5 in.) wide x 9.5 mm, deep (3/8 in.) x 2413 mm long (95 in.) with a minimum of four self-tapping screws per length of channel; self-tapping screws of sufficient length to penetrate substrate minimum 25 mm [1 in.]. Metal furrings spaced a maximum of 600 mm [24 in.] o.c.

.4	FOAMULAR INSULPINK fastening system: wood furring, with a minimum of four self-tapping screws per length of furring; with sufficient length to penetrate substrate 38 mm (1.5 in) deep.

Part 3	Execution

3.1	WORKMANSHIP - GENERAL

.1	Compliance: comply with manufacturer's requirements, recommendations and written specifications, including product Technical Bulletins, Product Catalogue installation instructions, product package installation instructions, and Product Data Sheets.

3.2		EXAMINATION

.1	Examine substrates and do not proceed with installation until defects have been corrected.

.1	Ensure substrates are solid, [fill materials are well compacted and drained], free of protrusions and true to plane (i.e. free of undulations), free of dust and debris [of snow, ice, frost] and ready to receive foam insulation boards.

  - WORKMANSHIP

SPEC NOTE: Thermal insulation is essential to the energy performance of buildings and civil engineering projects. Coordinate extruded polystyrene insulation board installation with all adjacent, underlying or penetrating work projects. These are, for information only, air barrier systems applied to substrates, masonry connectors, flashings, foundation waterproofing, different types of fill and compaction under slabs-on-grade or geo engineering projects, mechanical, electrical and telecommunication conduits and various other types of civil engineering projects.

.1	Coordinate adjacent, underlying and penetrating work which must be completed prior to insulation work or those that will be installed after insulation work.

.2	Install insulation to maintain continuity of thermal protection to building elements and spaces.

.3	Fit insulation tight around electrical boxes, plumbing and heating pipes and ducts, around exterior doors and windows and other protrusions.

SPEC NOTE: Verify clearances with local building regulations and safety codes. Check requirements for chimney vents and specify type required. Where lighting fixtures are supplied with CSA-approved insulated enclosures, specified clearances are not required unless indicated otherwise by fixture manufacturer. Edit the following paragraph to suit project requirements.

.4	Keep insulation minimum [75] [___] mm from heat-emitting devices such as recessed light fixtures, and minimum [50] [___] mm from [sidewalls of CAN4-S604 type A chimneys] [and] [CAN/CGA-B149.1 and CAN/CGA-B149.2 [type B] [and] [L] vents].

.5	Cut and trim insulation neatly to fit spaces. Butt joints tightly, offset vertical joints. Use only foam insulation boards free from chipped or broken edges. Use largest possible dimensions to reduce number of joints.

.6	Use boards with ship lapped edges where joint overlap is required in single layer applications.

### .7	Offset both vertical and horizontal joints in multiple layer applications.

### SPEC NOTE: Board installation may require adhesives or mechanical fasteners; use one or the other following paragraphs according to installation method or type of insulating material specified.

#### .8	Fastening:

#### .1	Adhesive:

.1	Apply Type [___] adhesive to [insulation board] [substrate] at rate of [___] L/m2by [notched trowel] [___] in accordance with adhesive manufacturer's recommendations.

.2	Leave insulation board joints unbonded over line of expansion and control joints. Bond a continuous elastomeric membrane over expansion and control joints using compatible adhesive and primer before application of insulation.

#### .2	Mechanical fastening:

.1	Fasten insulation boards using mechanical fasteners appropriate to substrate, at minimum rate of one fastener per 0.19 m2 (2 sq. ft.).

.9	Temporarily protect installed insulation boards from inclement weather, excessive sunlight and other physical damages.

3.4		PERIMETER FOUNDATION INSULATION

### SPEC NOTE: Extent of perimeter foundation insulation should be indicated on drawings.

.1	Interior application: extend boards [(___)] mm vertically below bottom of finish floor slab] [as indicated], installed on inside face of perimeter foundation walls.

.2	Exterior application: extend boards [(___) mm minimum below finish grade] [as indicated] [to top of footing]. Install on exterior face of perimeter foundation wall with adhesive [fasteners].

.3	Under slab application: extend boards [(___) mm in from perimeter foundation wall] [as indicated]. Lay boards on level compacted fill.

[.4	Perimeter heating duct application: compact walls of heating duct trench to form solid backing. Attach insulation boards to perimeter foundation wall extending from underside of finish floor to [100] (___) mm below bottom of heating duct. Lay insulation boards in bottom of heating duct trench, extend to [(150) (___) mm beyond heating duct] [(600) (___) mm minimum from inside face of perimeter foundation wall]. Secure insulation in place to prevent displacement.]

3.5		INSULATING WORK PROJECTS SUBJECTED TO SPECIAL LOADING

SPEC NOTE: Owens Corning is not responsible for its products' installation. However we recommend fastening insulation boards temporarily to compacted fill and between each layer prior to installation of finish materials.

.1	Install high density insulation boards having an appropriate minimum [275] [415] [690] kPa 
	compressive strength where indicated on the Drawings.

.2	Ensure compatibility between insulation boards and adhesives employed to adhere boards to fill or to themselves (multiple layer application).

.3	Install insulation boards and butt joints tightly; offset all transverse joints, placing board along dimension parallel to median line of surface to be covered; start installation from centre and work out towards edges of surface as dimensioned on the Drawings.

[.4	Provide transition zone at each extremity of thermally insulated road sections to ensure a gradual transition of the fill's thermal properties. Reduce insulation thickness by 25 mm (1 in.) for each 4.9 m (16 ft.) of road length.]

.5	Retain insulation boards using backfill material or wood [steel] pegs in sufficient number to avoid displacement due to wind or flotation where water is present.

[.6	Where required, adhere insulation boards using an adhesive to temporarily maintain boards in place, as required by manufacturer.]

[.7	Wrap concrete or masonry work below or partially below grade (i.e. pilon foundations) to minimize frost adherence and reduce frost heave that may cause damaging distortions to the steel (concrete((wood) structure.]

.8	Prohibit vehicular and heavy equipment traffic directly on insulation to avoid damage.

.9	Do not enclose insulation until it has been inspected and approved by Engineer [Architect].

3.6		CLEANING

.1	Upon completion of the installation, remove surplus materials, rubbish, tools and equipment barriers.

OWENS CORNING INSULATING SYSTEMS CANADA LP

Head Office and Sales

3450 McNicoll Avenue

Scarborough, Ontario

M1V 1Z5

Tel:  1 800 504-8294

Fax: 1 800 504-9698

email: salvatore.ciarlo@owenscorning.com

MasterFormat is a trademark of the Construction Specifications Institute, Inc. LEED is a registered trademark of U.S. Green Building Council. GREENGUARD Indoor Air Quality Certified is Reg. U.S. Pat & TM Office. The colour PINK is a registered trademark of Owens Corning. © 2006-2013 Owens Corning.  All Rights Reserved.

Publication # 300528B

Printed in Canada November 2013